## M.I Gen & lines-15-08-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-08-15
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
2 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BTL LATER ON RSD (12.07.2021) LATER ON TECHNICAL PROB
3 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN
4 | UPCL: U2 | 15:08 (22.07.2021) |  | O/O SPS OPERATED LATER ON RSD
5 | RTPS: U1 | 07:15 (16.08.2021) |  | O/O BOILER TUBE LEAKAGE
6 | RTPS: U6 | 10:16 (13.08.2021) |  | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | ICT #2 at RTPS | 18:42 (23.07.2021) | . | Tripped
3 | 400KV-KAIGA - GUTTUR-2 | 01:17 (14.08.2021) | 07:58 (16.08.2021) | O/O on O/V | CHARGED
4 | 400kV NLM-TGP | 23:19 (15.08.2021) | 07:54 (16.08.2021) | O/O on O/V | CHARGED
5
6
7
8
9
10
11
12
13
14
15
18
19
20
21
22
23
24
25
26
27
28