## M.I Gen & lines-15-09-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-09-15
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 07:15 (16.08.2021) |  | O/O BOILER TUBE LEAKAGE
2 | RTPS: U3 | 21:30 (07.09.2021) |  | O/O RESERVE SHUTDOWN
3 | RTPS: U6 | 21:54 (07.09.2021) |  | O/O RESERVE SHUTDOWN
4 | RTPS: U8 | 16:07 (04.09.2021) |  | O/O RESERVE SHUT DOWN
5 | RTPS: U2 | 00:35 (08.09.2021) |  | O/O RESERVE SHUT DOWN (LOW DEMAND)
6 | RTPS: U4 | 05:10 (08.09.2021) |  | O/O RESERVE SHUT DOWN (LOW DEMAND)
7 | BTPS: U1 | 23:43 (06.09.2021) |  | O/O LOW DEMAND
8 | BTPS: U2 | 16:32 (04.09.2021) |  | O/O RESERVE SHUT DOWN
9 | BTPS: U3 | 11:32 (08.09.2021) |  | O/O RESERVE SHUT DOWN
10 | YTPS: U1 | 16:54 (12.09.2021) | 18:42 (15.09.2021) | O/O RESERVE SHUT DOWN
11 | YTPS: U2 | 12:31 (03.09.2021) |  | O/O HPCV PROB
12 | RTPS: U7 | 19:50 (27.08.2021) |  | O/O FLAME FAILURE
13 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
14 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV-NARENDRA - GUTTUR-2 | 17:22 (05.09.2021) |  | O/O on O/V | KEPT ON OVER VOLTAGE
4 | 400kV BPS-JSW line 2 | 06:25 (15.09.2021) | 09:49 (15.09.2021) | O/o on LC | CHARGED
5 | 220kV L'sugur-Mbad line 1 | 09:11 (15.09.2021) | 16:01 (15.09.2021) | O/o on LC | CHARGED
6 | 400kV Doni-Guttur | 10:34 (15.09.2021) | 17:09 (15.09.2021) | O/o on LC | CHARGED
7 | 220kV Malur-Sarjapur | 11:55 (15.09.2021) | 12:37 (15.09.2021) | Tripped | CHARGED
8 | 220kV A.wadi-Xeldem | 13:12 (15.09.2021) | 13:52 (15.09.2021) | Tripped | CHARGED
9 | 220kV NA.wadi-Ponda | 13:59 (15.09.2021) | 15:47 (15.09.2021) | Tripped | CHARGED
10 | 400kV NLM-Hiriyur line 2 | 18:56 (15.09.2021) | 09:04 (16.09.2021) | Tripped on O/v | CHARGED
11 | 220kV Nittur stn bus dead | 10:55 (15.09.2021) | 18:13 (15.09.2021) | O/o on QMW | CHARGED
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
5
6
7
8
9
10
11
12
13
14
15
18
19
20
21
22
23
24
25
26
27
28