## M.I Gen & lines-15-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-15
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
2 | RTPS: U1 | 16:29 (11.10.2021) | 23:42 (14.10.2021) | O/O BOILER TUBE LEAKAGE
3 | RTPS: U8 | 04:10 (04.10.2021) |  | O/O ASH HANDLING PROB
4 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
5 | YTPS: U2 | 01:52 (28.09.2021) | 21:14 (14.10.2021) | O/O
6 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
7 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kV UPCL-HSn#1 | 05:11 (09.10.2021) |  | Tripped
4 | 400KV-KAIGA - GUTTUR-2 | 00:02 (10.10.2021) | 11:17 (10.10.2021) | O/O on O/V | CHARGED
5 | 220kV RTPS-Shapur line | 02:05 (14.10.2021) |  | Tripped
6 | 400kV Narendra-Guttur #2 line | 17:19 (14.10.2021) |  | O/O on O/V
7 | 400KV-KAIGA - GUTTUR-1 | 10:57 (15.10.2021) | 19:21 (15.10.2021) | Tripped | CHARGED
8 | 220kV Kadakola-K R pete line | 12:38 (15.10.2021) | 19:28 (15.10.2021) | Tripped | CHARGED
9 | 220kV Gadag-Dhoni #2 line | 14:06 (15.10.2021) | 18:59 (15.10.2021) | Tripped | CHARGED
10 | 220kV Arasikere-Nittur line | 14:50 (15.10.2021) | 15:35 (15.10.2021) | Tripped | CHARGED
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51