## M.I Gen & lines-15-11-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-11-15
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | RTPS: U7 | 04:42 (12.11.2021) |  | O/O RESERVE SHUTDOWN
4 | RTPS: U5 | 10:54 (09.11.2021) |  | O/O GT PROTEC OPERATED
5 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
6 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
7 | YTPS:U2 | 05:56 (15.11.2021) |  | O/O FURNACE PRESSURE LOW
8 | RTPS:U8 | 09:50 (10.11.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220KV-AMBEWADI - PONDA-1 | 17:21 (25.10.2021) |  | Tripped
4 | 400KV-KAIGA - GUTTUR-2 | 20:58 (10.11.2021) |  | O/O On OV
5 | 400KV-NARENDRA - GUTTUR-1 | 21:44 (10.11.2021) |  | O/O On OV
6 | 400kV NLM-hiriyur#2 | 04:01 (11.11.2021) | 07:52 (15.11.2021) | T/P on O/V | CHARGED
7 | 400kV Guttur-BTPS#1 | 17:47 (13.11.2021) | 17:07 (15.11.2021) | Tripped | CHARGED
8 | 400kv Guttur-NRN - 2 | 21:10 (12.11.2021) |  | O/O on L/C
9 | 400KV-KAIGA - GUTTUR-2 | 12:52 (15.11.2021) | 13:51 (15.11.2021) | Tripped | CHARGED
10 | 400KV-DONI - GUTTUR-1 | 12:52 (15.11.2021) | 14:04 (15.11.2021) | Tripped | CHARGED
11 | 400KV-NARENDRA - GUTTUR-1 | 12:52 (15.11.2021) | 14:04 (15.11.2021) | Tripped | CHARGED
12 | 400KV-GUTTUR - HIRIYUR-1 | 12:52 (15.11.2021) | 14:23 (15.11.2021) | Tripped | CHARGED
13 | 315MVA ICT-1 @ Guttur | 10:00 (15.11.2021) | 16:33 (15.11.2021) | O/O on L/C | CHARGED
14 | 220kV SMN-Mylasandra | 10:30 (15.11.2021) | 15:47 (15.11.2021) | O/O on L/C | CHARGED
15 | 220kV VPH-SMG#1 | 10:56 (15.11.2021) | 14:33 (15.11.2021) | O/O on L/C | CHARGED
16 | 220kV Hoody-Begur | 11:50 (15.11.2021) | 14:07 (15.11.2021) | Tripped | CHARGED
17 | 220kV Hoody-HSR | 15:45 (15.11.2021) | 17:40 (15.11.2021) | Tripped | CHARGED
18 | 220kV EPIP-HSR | 15:45 (15.11.2021) | 17:37 (15.11.2021) | Tripped | CHARGED
19
20
21
22
23
24
25
26
27
28
29
30
31
32