## M.I Gen & lines-15-12-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-12-15
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
4 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U8 | 12:33 (20.11.2021) |  | O/O RESERVE SHUTDOWN
6 | RTPS: U1 | 22:25 (04.12.2021) |  | O/OBOILER TUBE LEAKAGE LATER ON RESERVE SHUTDOWN
7 | RTPS: U4 | 11:22 (25.11.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kv UPCL- Hassan -2 | 22:37 (13.12.2021) | 19:15 (15.12.2021) | o/o on OV | CHARGED
4 | 400KV-KAIGA - GUTTUR-1 | 06:19 (12.12.2021) | 19:19 (15.12.2021) | Tripped | CHARGED
5 | 220kV ML Pura-Narendra#1 | 10:33 (14.12.2021) |  | O/o on LC
6 | 220kV Mallath RTPS #3 line | 02:13 (15.12.2021) | 02:37 (15.12.2021) | Tripped | CHARGED
7 | 220kV RTPS-Raichur #2 line | 09:35 (15.12.2021) | 17:25 (15.12.2021) | O/o on LC | CHARGED
8 | 400kV Nelamangala-Talaguppa line | 09:41 (15.12.2021) |  | O/o on LC
9 | 220kV Chitamani-Kolar #2 line | 09:55 (15.12.2021) | 17:33 (15.12.2021) | O/o on LC | CHARGED
10 | 220kV V'matti- Bagalkote #1 line | 13:51 (15.12.2021) | 17:45 (15.12.2021) | Tripped | CHARGED
11 | 220kV V'matti- Bagalkote # 2 line | 13:48 (15.12.2021) | 17:42 (15.12.2021) | Tripped | CHARGED
12 | 220kV Kadakola -K R Pete line | 10:45 (15.12.2021) | 11:12 (15.12.2021) | Tripped | CHARGED
13 | 220kV Somanahally-Harohally | 09:55 (15.12.2021) | 16:00 (15.12.2021) | O/o on LC | CHARGED
14 | 220kV Varahi-Kemar #2 line | 10:12 (15.12.2021) | 13:37 (15.12.2021) | O/o on LC | CHARGED
15 | 220kV Yarandahally -Hosur | 09:55 (15.12.2021) | 16:00 (15.12.2021) | O/o on LC | CHARGED
16 | 220kV T K Hally- Kanakapura line | 09:53 (15.12.2021) | 16:00 (15.12.2021) | Tripped | CHARGED
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32