## M.I Gen & lines-16-07-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-07-16
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | BTPS: U3 | 23:54 (10.07.2021) |  | O/O RESERVED SHUTDOWN
3 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
4 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BTL LATER ON RESERVED SHUTDOWN(12.07.2021)
5 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN
6 | RTPS: U4 | 15:39 (12.07.2021) |  | O/O BOILER TUBE LEAKAGE
7 | RTPS: U7 | 01:22 (13.07.2021) |  | O/O DUE TO VALVE PROBLEM
8 | RTPS: U8 | 02:36 (16.07.2021) | 07:59 (16.07.2021) | O/O LOSS OF FUEL
9 | RTPS: U3 | 01:49 (17.07.2021) |  | O/O FLAME FAILURE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 400kV BTPS-Hiriyur#2 | 03:55 (16.07.2021) |  | O/O on O/V | KEPT OPEN ON OVER VOLTAGE
3 | 400kV NLM-Hiriyur#2 | 10:23 (16.07.2021) | 17:33 (16.07.2021) | O/O on O/V | CHARGED
4 | 220kV SMG-A'hally | 11:26 (16.07.2021) | 12:27 (16.07.2021) | Tripped | CHARGED
5 | 220kV SGS-SMG#1 | 12:47 (16.07.2021) | 14:24 (16.07.2021) | Tripped | CHARGED
6 | 220kV Gopalpura-Bastipura | 15:43 (16.07.2021) | 17:021 (16.07.2021) | Tripped | CHARGED
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29