## M.I Gen & lines-16-08-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-08-16
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
2 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BTL LATER ON RSD (12.07.2021) LATER ON TECHNICAL PROB
3 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN
4 | UPCL: U2 | 15:08 (22.07.2021) |  | O/O SPS OPERATED LATER ON RSD
5 | RTPS: U1 | 07:15 (16.08.2021) |  | O/O BOILER TUBE LEAKAGE
6 | RTPS: U6 | 10:16 (13.08.2021) |  | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | ICT #2 at RTPS | 18:42 (23.07.2021) | . | Tripped
3 | 400KV-JINDAL - BPS-4 | 14:04 (16.08.2021) | 14:50 (16.08.2021) | O/O on L/C | CHARGED
4 | 400kV RTPS-BTPS | 03:11 (16.08.2021) | 16:10 (16.08.2021) | Tripped | CHARGED
5 | 220kV RTPS-Mallat | 03:51 (16.08.2021) | 14:22 (16.08.2021) | Tripped | CHARGED
6 | 220kV NRN-Belgaum#1 | 06:04 (16.08.2021) | 06:33 (16.08.2021) | Tripped | CHARGED
7 | 220kV Vrahai-Kemar#2 | 10:23 (16.08.2021) | 12:17 (16.08.2021) | O/O on L/C | CHARGED
8 | 220kV Guttur-DVG#3 | 10:47 (16.08.2021) | 19:37 (16.08.2021) | O/O on L/C | CHARGED
9 | 220kV ADPH-Bagalkote#2 | 17:47 (16.08.2021) |  | Tripped
10
11
12
13
14
15
18
19
20
21
22
23
24
25
26
27
28