## M.I Gen & lines-16-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-16
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
2 | RTPS: U1 | 16:29 (11.10.2021) | 23:42 (14.10.2021) | O/O BOILER TUBE LEAKAGE
3 | RTPS: U8 | 04:10 (04.10.2021) |  | O/O ASH HANDLING PROB
4 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
5 | YTPS: U2 | 01:52 (28.09.2021) | 21:14 (14.10.2021) | O/O
6 | YTPS: U1 | 17:01 (16.10.2021) |  | O/O TURBINE PROTECTION OPERATED
7 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
8 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kV UPCL-HSn#1 | 05:11 (09.10.2021) |  | Tripped
4 | 220kV RTPS-Shapur line | 02:05 (14.10.2021) |  | Tripped
5 | 400kV Narendra-Guttur #2 line | 17:19 (14.10.2021) |  | O/O on O/V
6 | 220kV Ambewadi-Xeldom | 00:24 (16.10.2021) | 00:55 (16.10.2021) | Tripped | CHARGED
7 | 220kV Hebbal Bus Shut down | 02:04 (16.10.2021) | 04:35 (16.10.2021) | Trippimg of 100MVA Tr-2 | CHARGED
8 | 220kV Guttur-Haveri#2 | 05:47 (16.10.2021) | 13:15 (16.10.2021) | Tripped | CHARGED
9 | 220kV Gadag-Dhoni#2 | 11:45 (16.10.2021) | 13:04 (16.10.2021) | O/o on LC | CHARGED
10 | 220kV Kodasalli-Nagjhari | 11:35 (16.10.2021) | 15:01 (16.10.2021) | O/o on LC | CHARGED
11 | 220kV Narendra-Hubli#1 | 11:32 (16.10.2021) | 15:30 (16.10.2021) | Tripped | CHARGED
12 | 220kV Bidnal-Nagjhari | 11:40 (16.10.2021) | 12:07 (16.10.2021) | Tripped | CHARGED
13 | 220kV Nagjhari-Hubli | 11:44 (16.10.2021) | 12:26 (16.10.2021) | Tripped | CHARGED
14 | 400kV Talguppa-NLM | 12:12 (16.10.2021) | 15:02 (16.10.2021) | O/o on LC | CHARGED
15 | 220kV Manyata-Hoody | 14:46 (16.10.2021) | 15:12 (16.10.2021) | Tripped | CHARGED
16 | 220kV C'Durga-Guttur | 14:45 (16.10.2021) | 15:58 (16.10.2021) | Tripped | CHARGED
17 | 220kV Gauribidanur-Hiriyur PG#2 | 16:14 (16.10.2021) |  | Tripped
18 | 110kV Konaje-Manjeshwar | 19:53 (16.10.2021) | 21:48 (16.10.2021) | Tripped due to main supply failure @Konaje | CHARGED
19
20
21
22
23
24
25
26
27
28
29
30
31
32