## M.I Gen & lines-16-12-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-12-16
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
4 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U8 | 12:33 (20.11.2021) |  | O/O RESERVE SHUTDOWN
6 | RTPS: U1 | 22:25 (04.12.2021) |  | O/OBOILER TUBE LEAKAGE LATER ON RESERVE SHUTDOWN
7 | RTPS: U4 | 11:22 (25.11.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220kV ML Pura-Narendra#1 | 10:33 (14.12.2021) |  | O/o on LC
4 | 400kV Nelamangala-Talaguppa line | 09:41 (15.12.2021) | 15:37 (16.12.2021) | O/o on LC | CHARGED
5 | 220kV RTPS-Lingasur #1 line | 09:58 (15.12.2021) | 15:08 (16.12.2021) | O/o on LC | CHARGED
6 | 220kV Kemar-Varahi #1 line | 10:16 (15.12.2021) | 14:44 (15.12.2021) | O/o on LC | CHARGED
7 | 400kV Guttur -Kaiga #2 line | 10:46 (15.12.2021) | 17:32 (15.12.2021) | O/o on LC | CHARGED
8 | 400kV Guttur -Narendra #2 line | 22:03 (15.12.2021) | 08:37 (15.12.2021) | O/O on OV | CHARGED
9 | 220kV Narendra-Mahalingapura #2 line | 11:40 (15.12.2021) | 18:40 (15.12.2021) | O/o on LC | CHARGED
10 | 220kV Bagalokte-ADPH #2 line | 04:53 (15.12.2021) | 06:15 (15.12.2021) | tripped | CHARGED
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32