## M.I Gen & lines-17-06-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-06-17
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | UPCL: U1 | 13:23 (03.05.2021) |  | O/O RESERVED SHUTDOWN
3 | UPCL: U2 | 11:34 (08.05.2021) |  | O/O RESERVED SHUTDOWN
4 | RTPS: U2 | 20:41 (11.05.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U3 | 23:15 (12.05.2021) |  | O/O RESERVED SHUTDOWN
6 | RTPS: U7 | 22:41 (12.05.2021) |  | O/O RESERVED SHUTDOWN
7 | RTPS: U4 | 12:17 (15.05.2021) |  | O/O RESERVED SHUTDOWN
8 | RTPS: U5 | 11:02 (15.05.2021) |  | O/O RESERVED SHUTDOWN
9 | BTPS: U1 | 19:48 (02.06.2021) |  | O/O RESERVED SHUTDOWN
10 | RTPS: U6 | 10:17 (06.06.2021) |  | O/O RESERVED SHUTDOWN
11 | RTPS: U8 | 10:17 (06.06.2021) |  | O/O RESERVED SHUTDOWN
12 | BTPS: U2 | 18:54 (07.06.2021) |  | O/O RESERVED SHUTDOWN
13 | RTPS: U1 | 11:04 (08.06.2021) |  | O/O RESERVED SHUTDOWN
14 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RESERVED SHUTDOWN
15 | BTPS: U2 | 23:36 (12.06.2021) |  | O/O RESERVED SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS( RELAY REPLACEMENT)
2 | 400kV Devanahalli-YNK | 08:35 (12.05.2021) |  | O/O on L/C | FOR NORMALISATION OF LINE TO DEVANAHALLI YNK/TKR-YNK
3 | 400KV-BTPS - HIRIYUR-2 | 04:10 (15.06.2021) |  | O/O on O/V | KEPT OPEN FOR OVER VOLTAGE
4 | 400KV-NELAMANGALA - TALGUPPA-1 | 09:42 (16.06.2021) | 10:47 (17.06.2021) | O/O on L/C | CHARGED
5 | 400KV-KAIGA - GUTTUR-2 | 13:25 (16.06.2021) | 13:33 (17.06.2021) | O/O on L/C | CHARGED
6 | 400KV-NELAMANGALA - HASSAN | 13:41 (16.06.2021) | 09:29 (17.06.2021) | Tripped | CHARGED
7 | 400kV Guttur-NRN#2 | 03:03 (17.06.2021) |  | O/O on O/V | KEPT OPEN FOR OVER VOLTAGE
8 | 220KkV Sedam-RTPS#1 | 05:15 (17.06.2021) | 05:52 (17.06.2021) | Tripped | CHARGED
9 | 220kV TGP-SGS#1&#2 | 10:57 (17.06.2021) | 13:39 (17.06.2021) | O/O on L/C | CHARGED
10 | 220kV STRP-TGP | 13:32 (17.06.2021) | 17:52 (17.06.2021) | Tripped | CHARGED
11 | 400KV-NELAMANGALA - HASSAN | 14:10 (17.06.2021) |  | Tripped | B-N FAULT
12 | 220kV Bastipura-Gopalpura | 17:02 (17.06.2021) | 22:30 (17.06.2021) | Tripped | CHARGED
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29