## M.I Gen & lines-17-11-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-11-17
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | RTPS: U7 | 04:42 (12.11.2021) |  | O/O RESERVE SHUTDOWN
4 | RTPS: U5 | 10:54 (09.11.2021) |  | O/O GT PROTEC OPERATED
5 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
6 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
7 | YTPS:U2 | 13:03 (17.11.2021) | 12:18 (18.11.2021) | O/O LOSS OF EVACUATION
8 | YTPS:U1 | 13:03 (17.11.2021) |  | O/O LOSS OF EVACUATION
9 | YTPS:U2 | 06:09 (18.11.2021) |  | O/O TRIPPED
10 | RTPS:U1 | 02:39 (18.11.2021) |  | O/O BOILER TUBE LEAKAGE
11 | RTPS:U8 | 09:50 (10.11.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220KV-AMBEWADI - PONDA-1 | 17:21 (25.10.2021) |  | Tripped
4 | 400KV-KAIGA - GUTTUR-2 | 20:58 (10.11.2021) |  | O/O On OV | KEPT ON OVER VOLTAGE
5 | 400KV-NARENDRA - GUTTUR-2 | 21:22 (16.11.2021) |  | O/O On OV | KEPT ON OVER VOLTAGE
6 | 220KV-NARENDRA - GHATPRABHA-1 | 05:33 (17.11.2021) | 06:35 (17.11.2021) | O/O on L/C | CHARGED
7 | 220KV-AMBEWADI - XELDEM-1 | 11:45 (17.11.2021) | 12:20 (17.11.2021) | Tripped | CHARGED
8 | 400KV-BPS - YTPS-1 | 13:03 (17.11.2021) | 14:21 (17.11.2021) | Tripped | CHARGED
9 | 400KV-BPS - YTPS-2 | 13:03 (17.11.2021) | 14:25 (17.11.2021) | Tripped | CHARGED
10 | 400KV-PAVAGADA - BPS-2 | 13:03 (17.11.2021) |  | Tripped
11 | 400KV-JINDAL - BPS-3 | 13:03 (17.11.2021) | 14:33 (17.11.2021) | Tripped | CHARGED
12 | 400KV-JINDAL - BPS-4 | 13:03 (17.11.2021) | 14:34 (17.11.2021) | Tripped | CHARGED
13 | 400KV-BPS - JAGALUR-1 | 13:03 (17.11.2021) | 16:03 (17.11.2021) | Tripped | CHARGED
14 | 400KV-BPS - JAGALUR-2 | 13:03 (17.11.2021) | 16:07 (17.11.2021) | Tripped | CHARGED
15 | 400KV/220KV JAGALUR-ICT - 1 | 14:20 (17.11.2021) | 16:10 (17.11.2021) | Tripped | CHARGED
16 | 400KV/220KV JAGALUR-ICT -2 | 14:21 (17.11.2021) | 16:11 (17.11.2021) | Tripped | CHARGED
17 | 220kV Lingapur-Sindanoor | 08:53 (17.11.2021) | 17:33 (17.11.2021) | O/O on L/C | CHARGED
18 | 400kV BPS-Pavagada#3 | 09:19 (17.11.2021) | 11:09 (17.11.2021) | O/O on L/C | CHARGED
19 | 440kV NLM-D'hally | 11:06 (17.11.2021) | 17:33 (17.11.2021) | O/O on L/C | CHARGED
20 | 220kV Guttur-Chittradurga | 12:22 (17.11.2021) | 14:27 (17.11.2021) | Tripped | CHARGED
21 | 220kV Sedam-Shahpur | 21:54 (17.11.2021) |  | Tripped
22 | 220kV RTPS-Mallat | 22:10 (17.11.2021) | 22:29 (17.11.2021) | Tripped | CHARGED
23
24
25
26
27
28
29
30
31
32