## M.I Gen & lines-18-07-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-07-18
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) | 01:38 (18.07.2021) | O/O G T FAULT
2 | BTPS: U3 | 23:54 (10.07.2021) |  | O/O RESERVED SHUTDOWN
3 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
4 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BTL LATER ON RSD (12.07.2021)
5 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN
6 | RTPS: U4 | 15:39 (12.07.2021) |  | O/O BTL LATER ON RSD (17.07.2021)
7 | RTPS: U7 | 01:22 (13.07.2021) |  | O/O DUE TO VALVE PROBLEM LATER ON RSD (17.07.2021)
8 | RTPS: U8 | 05:16 (18.07.2021) |  | O/O RESERVED SHUTDOWN
9 | RTPS: U3 | 01:49 (17.07.2021) |  | O/O FLAME FAILURE LATER ON RSD (17.07.2021)
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 400kV BTPS-Hiriyur#2 | 03:55 (16.07.2021) |  | O/O on O/V | KEPT OPEN ON OVER VOLTAGE
3 | 400kV UPCL-Hassan line 1 | 16:42 (17.07.2021) | 15:13 (18.07.2021) | Tripped | LINE PATROLLING BY TLM
4 | 400kV Kaiga-Guttur | 01:07 (18.07.2021) |  | O/O on O/V | KEPT OPEN ON OVER VOLTAGE
5 | 220kV Madhugiri-V'Pura | 06:03 (18.07.2021) | 06:46 (18.07.2021) | O/O on O/V | CHARGED
6 | 220kV Peenya-NLM#1 | 08:45 (18.07.2021) | 11:22 (18.07.2021) | O/O ON LC | CHARGED
7 | 400kV NLM-Mysore#1 | 15:54 (18.07.2021) |  | O/O on O/V | KEPT OPEN ON OVER VOLTAGE
8 | 220kV Mallat-RTPS | 21:50 (18.07.2021) | 22:07 (18.07.2021) | TRIPPED | CHARGED
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29