## M.I Gen & lines-18-09-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-09-18
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 07:15 (16.08.2021) |  | O/O BOILER TUBE LEAKAGE
2 | RTPS: U3 | 21:30 (07.09.2021) |  | O/O RESERVE SHUTDOWN
3 | RTPS: U6 | 21:54 (07.09.2021) | 18:24 (18.09.2021) | O/O RESERVE SHUTDOWN
4 | RTPS: U8 | 16:07 (04.09.2021) |  | O/O RESERVE SHUT DOWN
5 | YTPS: U2 | 12:31 (03.09.2021) | 19:44 (18.09.2021) | O/O HPCV PROB
6 | RTPS: U7 | 19:50 (27.08.2021) |  | O/O FLAME FAILURE
7 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
8 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220Kv Mughalkhod-Chikkodi#1 | 10:15 (18.09.2021) |  | O/o on LC
4 | 220kV AthaniKudachi | 10:17 (18.09.2021) |  | O/o on LC
5 | 400kV NLM-Hiriyur#1 | 11:16 (18.09.2021) | 14:19 (18.09.2021) | O/o on LC | CHARGED
6 | 220kV Hoody-Manyatha | 12:14 (18.09.2021) | 12:41 (18.09.2021) | TRIPPED | CHARGED
7 | 220kV Hoody-Malur | 12:33 (18.09.2021) | 13:56 (18.09.2021) | TRIPPED | CHARGED
8 | 220kV SGS-Shimoga#1 | 12:44 (18.09.2021) | 13:13 (18.09.2021) | TRIPPED | CHARGED
9 | 220kV Malur-Somanahally | 12:54 (18.09.2021) | 13:19 (18.09.2021) | TRIPPED | CHARGED
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
5
6
7
8
9
10
11
12
13
14
15
18
19
20
21
22
23
24
25
26
27
28