## M.I Gen & lines-18-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-18
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
| RTPS: U2 | 12:50 (18.10.2021) |  | O/O ASH VACUATION WORK
2 | RTPS: U8 | 04:10 (04.10.2021) |  | O/O ASH HANDLING PROB
3 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
4 | YTPS: U1 | 17:01 (16.10.2021) |  | O/O TURBINE PROTECTION OPERATED
5 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
6 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kV UPCL-HSn#1 | 05:11 (09.10.2021) |  | Tripped
4 | 220kV RTPS-Shapur line | 02:05 (14.10.2021) |  | Tripped
5 | 400kV Narendra-Guttur #2 line | 17:19 (14.10.2021) |  | O/O on O/V
6 | 220kV Gauribidanur-Hiriyur PG#2 | 16:14 (16.10.2021) |  | Tripped
7 | 220kV Hubli-Sirisi line | 13:22 (17.10.2021) |  | Tripped
8 | 400kV HSN-Talguppa line | 14:22 (17.10.2021) |  | tripped on O/V
9 | 400kV NLM-Talguppa line | 17:57 (17.10.2021) |  | tripped on O/V
10 | 220kV Hubli-NPH #1&2 line | 10:08 (18.10.2021) | 15:05 (18.10.2021) | Tripped | CHARGED
11 | 220kV Kadakola-Bastipura line | 10:15 (18.10.2021) | 13:05 (18.10.2021) | O/O on LC | CHARGED
12 | 220kV SGS-TGP#3 line | 10:32 (18.10.2021) | 13:55 (18.10.2021) | O/O on LC | CHARGED
13 | 220kV Bidnal-Hubli #2 line | 10:46 (18.10.2021) | 19:19 (18.10.2021) | O/O on LC | CHARGED
14 | 220kV Hubli-Narendra #2 line | 11:03 (18.10.2021) | 11:50 (18.10.2021) | O/O on LC | CHARGED
15 | 400kV BTPS-Hiriyur line#2 | 01:04 (18.10.2021) |  | O/O on O/V
16 | 220kV Hiriyur-Thalak #1 line | 14:50 (18.10.2021) | 16:05 (18.10.2021) | tripped | CHARGED
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32