## M.I Gen & lines-18-11-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-11-18
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | RTPS: U7 | 04:42 (12.11.2021) |  | O/O RESERVE SHUTDOWN
4 | RTPS: U5 | 10:54 (09.11.2021) | 17:32 (18.11.2021) | O/O GT PROTEC OPERATED
5 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
6 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
7 | YTPS:U2 | 13:03 (17.11.2021) | 12:18 (18.11.2021) | O/O LOSS OF EVACUATION
8 | YTPS:U1 | 13:03 (17.11.2021) |  | O/O LOSS OF EVACUATION
9 | YTPS:U2 | 06:09 (18.11.2021) | 11:19 (18.11.2021) | O/O TRIPPED
10 | RTPS: U6 | 13:26 (18.11.2021) | 16:05 (18.11.2021) | O/O TRIPPED
11 | RTPS:U1 | 02:39 (18.11.2021) |  | O/O BOILER TUBE LEAKAGE
12 | RTPS:U8 | 09:50 (10.11.2021) | 00:48 (19.11.2021) | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV-KAIGA - GUTTUR-2 | 20:58 (10.11.2021) | 10:22 (18.11.2021) | O/O On OV | CHARGED
4 | 400KV-NARENDRA - GUTTUR-2 | 21:22 (16.11.2021) | 10:07 (18.11.2021) | O/O On OV | CHARGED
5 | 220kV Sedam-Shahpur | 21:54 (17.11.2021) | 21:39 (18.11.2021) | Tripped | CHARGED
6 | 400KV-PAVAGADA - BPS-2 | 13:03 (17.11.2021) |  | Tripped
7 | 220KV-AMBEWADI - PONDA-2 | 11:21 (18.11.2021) | 13:38 (18.11.2021) | Tripped | CHARGED
8 | 220KV-NARENDRA - M K HUBLI-2 | 14:00 (18.11.2021) | 16:52 (18.11.2021) | Tripped | CHARGED
9 | 400KV/220KV MUNIRABAD-ICT - 1 &2 | 08:11 (18.11.2021) | 09:52 (18.11.2021) | O/O on L/C | CHARGED
10 | 220kV Ambewadi-NRN#1 | 06:15 (18.11.2021) | 12:39 (18.11.2021) | Tripped | CHARGED
11 | 220kV Kadra-Kodasally | 12:44 (18.11.2021) |  | O/O on L/C
12 | 220kV M K Hubli-NRN#2 | 14:02 (18.11.2021) | 16:54 (18.11.2021) | O/O on L/C | CHARGED
13 | 220kV Mallat-RTPS#3 | 20:30 (18.11.2021) |  | Tripped
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32