## M.I Gen & lines-18-12-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-12-18
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
4 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U8 | 12:33 (20.11.2021) |  | O/O RESERVE SHUTDOWN
6 | RTPS: U6 | 00:58 (19.12.2021) |  | O/O BOILER TUBE LEAKAGE
7 | RTPS: U1 | 22:25 (04.12.2021) |  | O/OBOILER TUBE LEAKAGE LATER ON RESERVE SHUTDOWN
8 | RTPS: U4 | 11:22 (25.11.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kV Kaiga -Guttur # 2 line | 02:10 (18.12.2021) | 07:35 (18.12.2021) | O/O on LC | CHARGED
4 | 220kV Mahalingapura- Kudachi line | 03:01 (18.12.2021) | 03:35 (18.12.2021) | Tripped | CHARGED
5 | 220kV Varrahi-Kemar #2 line | 10:06 (18.12.2021) | 13:22 (18.12.2021) | O/O on LC | CHARGED
6 | 220kV Varrahi-SMG #3 line | 10:29 (18.12.2021) | 15:51 (18.12.2021) | O/O on LC | CHARGED
7 | 220kV Nelamangal-Nittur line | 11:47 (18.12.2021) | 14:18 (18.12.2021) | O/O on LC | CHARGED
8 | 220kV Kolar -Malur#1 line | 12:49 (18.12.2021) | 13:18 (18.12.2021) | Tripped | CHARGED
9 | 220kV RTPS-Lingsur #1 line | 20:25 (18.12.2021) |  | Tripped
10 | 400kV RTPS ICT1 | 10:16 (18.12.2021) | 10:38 (18.12.2021) | Tripped | CHARGED
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32