## M.I Gen & lines-19-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-19
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
| RTPS: U2 | 12:50 (18.10.2021) |  | O/O ASH VACUATION WORK
2 | RTPS: U8 | 04:10 (04.10.2021) |  | O/O ASH HANDLING PROB
3 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
4 | YTPS: U2 | 17:01 (16.10.2021) |  | O/O TURBINE PROTECTION OPERATED
5 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
6 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kV UPCL-HSn#1 | 05:11 (09.10.2021) |  | Tripped
4 | 220kV RTPS-Shapur line | 02:05 (14.10.2021) |  | Tripped
5 | 400kV Narendra-Guttur #2 line | 17:19 (14.10.2021) |  | O/O on O/V
6 | 220kV Gauribidanur-Hiriyur PG#2 | 16:14 (16.10.2021) |  | Tripped
7 | 220kV Hubli-Sirisi line | 13:22 (17.10.2021) |  | Tripped
8 | 400kV HSN-Talguppa line | 14:22 (17.10.2021) |  | tripped on O/V
9 | 400kV NLM-Talguppa line | 17:57 (17.10.2021) |  | tripped on O/V
10 | 400kV BTPS-Hiriyur line#2 | 01:04 (18.10.2021) |  | O/O on O/V
11 | 220kV NLMG-DBPura #1 | 06:04 (19.10.2021) | 09:45 (19.10.2021) | Tripped
12 | 220kV Shahpur-RTPS #2 | 13:30 (19.10.2021) | 19:27 (19.10.2021) | Tripped
13 | 220kV Bidadi-Bidadi PGCIL #1 &2 |  |  | Opened out
14 | 220kV Kolar(PGCIL)-Chintamani #1 &2 |  |  | Opened out
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32