## M.I Gen & lines-19-11-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-11-19
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | RTPS: U7 | 04:42 (12.11.2021) |  | O/O RESERVE SHUTDOWN
4 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
6 | YTPS:U1 | 13:03 (17.11.2021) |  | O/O LOSS OF EVACUATION
7 | BTPS: U3 | 09:10 (19.11.2021) | 12:27 (19.11.2021) | O/O TRIPPED
11 | RTPS:U1 | 02:39 (18.11.2021) |  | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV-PAVAGADA - BPS-2 | 13:03 (17.11.2021) |  | Tripped
4 | 220kV Kadra-Kodasally | 12:44 (18.11.2021) | 15:45 (19.11.2021) | O/O on L/C | CHARGED
5 | 220kV Mallat-RTPS#3 | 20:30 (18.11.2021) | 16:45 (19.11.2021) | Tripped | CHARGED
6 | 220KV-KAIGA - KADRA-1 | 16:19 (19.11.2021) |  | Tripped
7 | 220kV GTR-Chitradurga | 09:52 (19.11.2021) | 14:50 (19.11.2021) | Tripped | CHARGED
8 | 220kV Belgaum-NRN#1&#2 | 12:03 (19.11.2021) | 15:44 (19.11.2021) | O/O on L/C | CHARGED
9 | 220kV Lingapur-Kushtagi | 15:09 (19.11.2021) | 15:43 (19.11.2021) | Tripped | CHARGED
10 | 220kV Kushtagi | 15:09 (19.11.2021) | 15:47 (19.11.2021) | Bus dead | CHARGED
11 | 220kV Lingasugur | 15:47 (19.11.2021) | 16:05 (19.11.2021) | Bus dead | CHARGED
12 | 220kV Guttur-Haveri#2 | 19:25 (19.11.2021) |  | Tripped
13 | 400kV UPCL-Hassan@2 | 23:09 (19.11.2021) | 07:23 (20.11.2021) | O/O on O/V | CHARGED
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32