## M.I Gen & lines-20-07-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-07-20
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 23:54 (10.07.2021) |  | O/O RESERVED SHUTDOWN
2 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
3 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BTL LATER ON RSD (12.07.2021)
4 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U4 | 15:39 (12.07.2021) |  | O/O BTL LATER ON RSD (17.07.2021)
6 | RTPS: U7 | 01:22 (13.07.2021) |  | O/O DUE TO VALVE PROBLEM LATER ON RSD (17.07.2021)
7 | RTPS: U8 | 05:16 (18.07.2021) |  | O/O RESERVED SHUTDOWN
8 | BTPS: U1 | 15:38 (19.07.2021) |  | O/O RESERVED SHUTDOWN
9 | RTPS: U1 | 10:30 (19.07.2021) |  | O/O RESERVED SHUTDOWN
10 | RTPS: U3 | 01:49 (17.07.2021) |  | O/O FLAME FAILURE LATER ON RSD (19.07.2021)
11 | BTPS:U2 | 18:14 (20.07.2021) |  | O/O RESERVED SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 400kV NLM-Mysore#1 | 15:54 (18.07.2021) |  | O/O on O/V | KEPT OPEN ON OVER VOLTAGE
3 | 400kv Guttur-Nar | 01:15 (20.07.2021) |  | Tripped
4 | 220kv Sedam-shahpura | 05:15 (20.07.2021) | 05:57 (20.07.2021) | Tripped
5 | 400kv UPCL-Hassan- 1 | 06:52 (20.07.2021) | 13:52 (20.07.2021) | Tripped
6 | 220kV VPH-Kemar-2 | 10:01 (20.07.2021) | 11:51 (20.07.2021) | Tripped
7 | 220kv Peenya-NEL | 10:30 (20.07.2021) | 10:50 (20.07.2021) | Tripped
8 | 220 kv Peenya- NRS | 10:30 (20.07.2021) | 11:08 (20.07.2021) | Tripped
9 | 220kv Neelaganda-Guttur | 11:34 (20.07.2021) |  | Tripped
10 | 220kv RTPS-L'sugur-2 | 21:28 (20.07.2021) | 21:40 (20.07.2021) | Tripped
11 | 220kv RTPS-Malletti | 17:22 (20.07.2021) |  | Tripped
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29