## M.I Gen & lines-20-08-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-08-20
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O TEMP PROBE PROB
3 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN LATER ON TECHNICAL PROB
4 | UPCL: U2 | 15:08 (22.07.2021) |  | O/O SPS OPERATED LATER ON CONTINUED ON RSD
5 | RTPS: U1 | 07:15 (16.08.2021) |  | O/O BOILER TUBE LEAKAGE
7 | BTPS:U3 | 17:43 (18.08.2021) | 01:30 (21.08.2021) | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | ICT #2 at RTPS | 18:42 (23.07.2021) | . | Tripped
3 | 220kV ADPH-Bagalkote#2 | 17:47 (16.08.2021) | 13:10 (20.08.2021) | Tripped | CHARGED
4 | 220KV-KAIGA - KADRA-1 | 14:07 (20.08.2021) | 15:18 (20.08.2021) | Tripped | CHARGED
5 | 220KV-AMBEWADI - XELDEM-1 | 14:23 (20.08.2021) | 17:23 (20.08.2021) | Tripped | CHARGED
6 | 400KV/220KV KAIGA-ICT - 1 | 06:31 (20.08.2021) | 20:00 (20.08.2021) | O/O on L/C | CHARGED
7 | 400KV/220KV HOODY-ICT - 3 | 14:34 (20.08.2021) | 18:41 (20.08.2021) | O/O on L/C | CHARGED
8 | 400KV/220KV SOMANAHALLI-ICT - 1 | 15:51 (20.08.2021) | 16:46 (20.08.2021) | O/O on L/C | CHARGED
9 | 400KV-KAIGA-GUTTUR-2 | 01:42 (20.08.2021) | 07:19 (20.08.2021) | O/O on O/V | CHARGED
10 | 220kV Hubli-NPH#1 | 01:04 (20.08.2021) | 02:15 (20.08.2021) | Tripped | CHARGED
11 | 220kV GTR-Chitradurga | 03:36 (20.08.2021) | 13:35 (20.08.2021) | Tripped | CHARGED
12 | 220kV Bidnal stat | 09:22 (20.08.2021) | 10:07 (20.08.2021) | Bus dead | CHARGED
13 | 220kV GTR-DVG#2 | 10:42 (20.08.2021) | 13:26 (20.08.2021) | Tripped | CHARGED
14 | 220kV SGS-SMG#4 | 14:44 (20.08.2021) | 16:32 (20.08.2021) | Tripped | CHARGED
15 | 220kV Kemar-VPH#1 | 15:11 (20.08.2021) | 20:35 (20.08.2021) | Tripped | CHARGED
18 | 220kV Shahpur-Lingasugur | 20:49 (20.08.2021) | 20:58 (20.08.2021) | Tripped | CHARGED
19
20
21
22
23
24
25
26
27
28