## M.I Gen & lines-21-08-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-08-21
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U1 | 23:11 (08.06.2021) | 09:20 (21.08.2021) | O/O TEMP PROBE PROB
2 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN LATER ON TECHNICAL PROB
3 | UPCL: U2 | 15:08 (22.07.2021) |  | O/O SPS OPERATED LATER ON CONTINUED ON RSD
4 | RTPS: U1 | 07:15 (16.08.2021) |  | O/O BOILER TUBE LEAKAGE
5 | RTPS:U3 | 21:08 (21.08.2021) |  | O/O BOILER TUBE LEAKAGE
6 | UPCL: U1 | 11:29 (21.08.2021) |  | O/O LOW DEMAND
7 | BTPS:U3 | 17:43 (18.08.2021) | 01:30 (21.08.2021) | O/O BOILER TUBE LEAKAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | ICT #2 at RTPS | 18:42 (23.07.2021) | . | Tripped
3 | 220kv Peenya-NRS | 02:22 (21.08.2021) | 04:20 (21.08.2021) | Tripped | CHARGED
4 | 220kV L'sugur-Shahapura | 05:30 (21.08.2021) | 09:30 (21.08.2021) | Tripped | CHARGED
5 | 220kv Kaiga-kodasalli-1 | 06:24 (21.08.2021) | 23:37 (21.08.2021) | o/o on LC | CHARGED
6 | 220kV Nar-Bidnal | 11:04 (21.08.2021) | 13:25 (21.08.2021) | o/o on LC | CHARGED
7 | 220kV Guttur-Davangaere-1 | 20:01 (21.08.2021) |  | Tripped
8 | 220kv STRP-SMG | 22:35 (21.08.2021) |  | Tripped
9 | 220kV NAR-Belgaum - 1 | 14:08 (21.08.2021) | 14:36 (21.08.2021) | Tripped | CHARGED
10
11
12
13
14
15
18
19
20
21
22
23
24
25
26
27
28