## M.I Gen & lines-21-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-21
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
| RTPS: U2 | 12:50 (18.10.2021) |  | O/O ASH VACUATION WORK
2 | RTPS: U8 | 04:10 (04.10.2021) |  | O/O ASH HANDLING PROB
3 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
4 | YTPS: U2 | 17:01 (16.10.2021) |  | O/O TURBINE PROTECTION OPERATED
5 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
6 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kV UPCL-HSn#1 | 05:11 (09.10.2021) |  | Tripped
4 | 400kV Narendra-Guttur #2 line | 17:19 (14.10.2021) |  | O/O on O/V
5 | 400kV HSN-Talguppa line | 09:02 (18.10.2021) |  | TRIPPED
6 | 400V GTR-Kaiga#2 | 17:22 (20.10.2021) |  | Tripped
7 | 220kv BTPS-Allipur | 06:50 (21.10.2021) | 17:20 (21.10.2021) | Tripped | CHARGED
8 | 220kv Varahi-Shimogga-3 | 09:33 (21.10.2021) | 11:17 (21.10.2021) | o/o on LC | CHARGED
9 | 220kv Sindhanoor-Lingasugur | 10:48 (21.10.2021) | 13:50 (21.10.2021) | o/o on LC | CHARGED
10 | 220kv Varahi-Kemar-2 | 11:22 (21.10.2021) | 13:37 (21.10.2021) | o/o on LC | CHARGED
11 | 220kv NEL-Peenya-Puttenhalli | 11:33 (21.10.2021) | 13:40 (21.10.2021) | Tripped | CHARGED
12 | 220kv VPH-SMG-3 | 19:43 (21.10.2021) |  | Tripped
13 | 400kv Hoody-DVNH | 21:57 (21.10.2021) |  | Tripped
14 | 400kv DVNH-NEL | 22:11 (21.10.2021) | 01:07 (22.10.2021) | Tripped | CHARGED
15 | 400kv BTPS-HYR- 2 | 21:57 (21.10.2021) | 01:40 (22.10.2021) | O/O on O/V | CHARGED
16 | 220kv SMG-A'Hally | 23:31 (21.10.2021) |  | Tripped
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32