## M.I Gen & lines-21-11-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-11-21
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | RTPS: U7 | 04:42 (12.11.2021) |  | O/O RESERVE SHUTDOWN
4 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
6 | YTPS:U1 | 13:03 (17.11.2021) |  | O/O LOSS OF EVACUATION
7 | RTPS:U1 | 02:39 (18.11.2021) |  | O/O BOILER TUBE LEAKAGE
8 | RTPS: U8 | 12:33 (20.11.2021) |  | O/O RESERVE SHUTDOWN
9 | RTPS: U6 | 12:14 (20.11.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV-PAVAGADA - BPS-2 | 13:03 (17.11.2021) |  | Tripped
4 | 400kV Guttur-BTPS | 22:55 (20.11.2021) |  | Tripped
5 | 220kv Alipur-Ragalpadu | 00:06 (21.11.2021) | 00:44 (21.11.2021) | Tripped
6 | 220kv Mallat-RTPS | 01:56 (21.11.2021) | 02:14 (21.11.2021) | Tripped | CHARGED
7 | 400kv Nel-Hiriyur-2 | 02:22 (21.11.2021) | 07:30 (21.11.2021) | Tripped | CHARGED
8 | 400kv NEL-Tal | 14:51 (21.11.2021) | 19:03 (21.11.2021) | Tripped | CHARGED
9 | 400kv NEL-Gooty | 17:46 (21.11.2021) | 19:13 (21.11.2021) | Tripped | CHARGED
10 | 220kv Varahi-SMG-1 | 09:37 (21.11.2021) | 03:51 (21.11.2021) | Tripped | CHARGED
11 | 400kv NEL-Gooty | 19:14 (21.11.2021) |  | Tripped
12 | 220kv L'sugur-RTPS-2 | 20:10 (21.11.2021) | 20:42 (21.11.2021) | o/o on LC | CHARGED
13 | 220kv Varahi-SMG-3 | 12:31 (21.11.2021) |  | Tripped
14 | 220kv VPH-SMG | 12:13 (21.11.2021) |  | Tripped
15 | 220kv L'sugur-RTPS-1 | 05:47 (21.11.2021) |  | Tripped
16 | 400kv NEL-Tal | 19:09 (21.11.2021) | 19:50 (21.11.2021) | Tripped | CHARGED
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32