## M.I Gen & lines-22-07-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-07-22
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 23:54 (10.07.2021) |  | O/O RESERVED SHUTDOWN
2 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
3 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BTL LATER ON RSD (12.07.2021)
4 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U4 | 15:39 (12.07.2021) |  | O/O BTL LATER ON RSD (17.07.2021)
6 | RTPS: U7 | 01:22 (13.07.2021) |  | O/O DUE TO VALVE PROBLEM LATER ON RSD (17.07.2021)
7 | RTPS: U8 | 05:16 (18.07.2021) |  | O/O RESERVED SHUTDOWN
8 | BTPS: U1 | 15:38 (19.07.2021) |  | O/O RESERVED SHUTDOWN
9 | RTPS: U1 | 10:30 (19.07.2021) |  | O/O RESERVED SHUTDOWN
10 | RTPS: U3 | 01:49 (17.07.2021) |  | O/O FLAME FAILURE LATER ON RSD (19.07.2021)
11 | BTPS:U2 | 18:14 (20.07.2021) |  | O/O RESERVED SHUTDOWN
12 | YTPS: U2 | 13:53 (21.07.2021) |  | O/O RESERVED SHUTDOWN
13 | UPCL: U1 | 15:08 (22.07.2021) | 18:43 (22.07.2021) | O/O SPS OPERATED
14 | UPCL: U2 | 15:08 (22.07.2021) |  | O/O SPS OPERATED
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 400kV NLM-Mysore#1 | 15:54 (18.07.2021) |  | O/O on O/V | KEPT OPEN ON OVER VOLTAGE
3 | 400KV-KAIGA - GUTTUR-2 | 01:17 (21.07.2021) |  | O/O on O/V | KEPT OPEN ON OVER VOLTAGE
4 | 400KV-KAIGA - NARENDRA-2 | 01:17 (21.07.2021) |  | O/O on O/V | KEPT OPEN ON OVER VOLTAGE
5 | 400kV BTPS-Hiriyur#2 | 21:22 (22.07.2021) | 23:44 (22.07.2021) | O/O on O/V | CHARGED
6 | 400KV-UPCL - HASSAN-1 | 15:06 (22.07.2021) | 20:56 (22.07.2021) | O/O on O/V | CHARGED
7 | 400KV-UPCL - HASSAN-2 | 15:08 (22.07.2021) | 20:58 (22.07.2021) | O/O on O/V | CHARGED
8 | 220KV-AMBEWADI - XELDEM-1 | 19:09 (22.07.2021) |  | Tripped
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29