## M.I Gen & lines-22-08-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-08-22
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN LATER ON TECHNICAL PROB
2 | UPCL: U2 | 15:08 (22.07.2021) |  | O/O SPS OPERATED LATER ON CONTINUED ON RSD
3 | RTPS: U1 | 07:15 (16.08.2021) |  | O/O BOILER TUBE LEAKAGE
4 | RTPS:U3 | 21:08 (21.08.2021) |  | O/O BOILER TUBE LEAKAGE
5 | UPCL: U1 | 11:29 (21.08.2021) |  | O/O LOW DEMAND
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | ICT #2 at RTPS | 18:42 (23.07.2021) | . | Tripped
3 | 220kV Guttur-Davangaere-1 | 20:01 (21.08.2021) | 10:30 (22.08.2021) | Tripped | CHARGED
4 | 220kv STRP-SMG | 22:35 (21.08.2021) | 11:18 (22.08.2021) | Tripped | CHARGED
5 | 220kV Hubli-Naghari#2 | 08:37 (22.08.2021) | 10:05 (22.08.2021) | Tripped | CHARGED
6 | 220kV STRP-TGP | 09:56 (22.08.2021) | 11:58 (22.08.2021) | Tripped | CHARGED
7 | 220kV Kolar-Mylsandra | 10:24 (22.08.2021) | 18:15 (22.08.2021) | O/O on L/C | CHARGED
8 | 220kV SGS-SMG#4 | 10:53 (22.08.2021) | 12:25 (22.08.2021) | Tripped | CHARGED
9 | 220kV Bidnal-Naghari | 11:13 (22.08.2021) | 15:21 (22.08.2021) | Tripped | CHARGED
10 | 220kV DVG-Honnalli | 12:17 (22.08.2021) | 12:27 (22.08.2021) | Tripped | CHARGED
11 | 220kV SGS-SMG#3 | 12:06 (22.08.2021) | 13:52 (22.08.2021) | Tripped | CHARGED
12 | 220kV K B Cross-NLM | 12:55 (22.08.2021) | 13:58 (22.08.2021) | Tripped | CHARGED
13 | 220kV Kadur-Dabaspet | 13:45 (22.08.2021) | 14:41 (22.08.2021) | Tripped | CHARGED
14 | 220kV Hubli-NRRN#1 | 14:17 (22.08.2021) | 18:50 (22.08.2021) | Tripped | CHARGED
15 | 220kV Hubli-Sirsi#1 | 15:01 (22.08.2021) | 18:06 (22.08.2021) | Tripped | CHARGED
18 | 400kV UPCL-Hassan#2 | 18:07 (22.08.2021) |  | O/O On O/V
19
20
21
22
23
24
25
26
27
28