## M.I Gen & lines-22-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-22
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
| RTPS: U2 | 12:50 (18.10.2021) |  | O/O ASH VACUATION WORK
2 | RTPS: U8 | 04:10 (04.10.2021) |  | O/O ASH HANDLING PROB
3 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
4 | YTPS: U2 | 17:01 (16.10.2021) |  | O/O TURBINE PROTECTION OPERATED
5 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
6 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kV UPCL-HSn#1 | 05:11 (09.10.2021) |  | Tripped
4 | 400kV Narendra-Guttur #2 line | 17:19 (14.10.2021) |  | O/O on O/V
5 | 400kV HSN-Talguppa line | 09:02 (18.10.2021) |  | TRIPPED
6 | 400V GTR-Kaiga#2 | 17:22 (20.10.2021) | 12:22 (22.10.2021) | Tripped | CHARGED
7 | 220kv VPH-SMG-3 | 19:43 (21.10.2021) | 10:10 (22.10.2021) | Tripped | CHARGED
8 | 400kv Hoody-DVNH | 21:57 (21.10.2021) | 08:38 (22.10.2021) | Tripped | CHARGED
9 | 220kv SMG-A'Hally | 23:31 (21.10.2021) | 14:25 (22.10.2021) | Tripped | CHARGED
10 | 400KV-NELAMANGALA - TALGUPPA-1 | 15:27 (22.10.2021) | 17:26 (22.10.2021) | O/O on L/C | CHARGED
11 | 220kV S'Koppa-RNR | 09:52 (22.10.2021) | 10:02 (22.10.2021) | Tripped | CHARGED
12 | 220kV Chokkodi-Mugalkod | 10:31 (22.10.2021) | 13:00 (22.10.2021) | O/O on L/C | CHARGED
13 | 110kV Konaje-Manjeshwar | 10:02 (22.10.2021) | 10:39 (22.10.2021) | Tripped | CHARGED
14 | 220kV SMG-S'grama | 10:54 (22.10.2021) | 15:47 (22.10.2021) | O/O on L/C | CHARGED
15 | 220kV SMG-SGS#1 | 12:01 (22.10.2021) | 13:23 (22.10.2021) | Tripped | CHARGED
16 | 220kV NPH-Ambewadi#2 | 12:48 (22.10.2021) | 13:56 (22.10.2021) | Tripped | CHARGED
17 | 220kV SMG-STRP | 13:04 (22.10.2021) | 14:07 (22.10.2021) | Tripped | CHARGED
18 | 220kV Hoody-Manyatha | 13:14 (22.10.2021) | 17:49 (22.10.2021) | Tripped | CHARGED
19 | 220kV NRN-Kanbargi | 13:38 (22.10.2021) | 18:49 (22.10.2021) | O/O on L/C | CHARGED
20 | 220kV SMG-SGS#3 | 13:41 (22.10.2021) | 14:39 (22.10.2021) | Tripped | CHARGED
21 | 220kV Kemar-Varahi#1 | 21:10 (22.10.2021) |  | Tripped
22
23
24
25
26
27
28
29
30
31
32