## M.I Gen & lines-22-11-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-11-22
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | RTPS: U7 | 04:42 (12.11.2021) |  | O/O RESERVE SHUTDOWN
4 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
6 | YTPS:U1 | 13:03 (17.11.2021) |  | O/O LOSS OF EVACUATION
7 | RTPS:U1 | 02:39 (18.11.2021) |  | O/O BOILER TUBE LEAKAGE
8 | RTPS: U8 | 12:33 (20.11.2021) |  | O/O RESERVE SHUTDOWN
9 | YTPS: U2 | 09:49 (22.11.2021) | 01:48 (23.11.2021) | O/O TRIPPED
10 | RTPS: U6 | 12:14 (20.11.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV-PAVAGADA - BPS-2 | 13:03 (17.11.2021) | 20:57 (22.11.2021) | Tripped | CHARGED
4 | 400kV Guttur-BTPS | 22:55 (20.11.2021) | 14:35 (22.11.2021) | Tripped | CHARGED
5 | 220kv Varahi-SMG-3 | 12:31 (21.11.2021) | 06:49 (22.11.2021) | Tripped | CHARGED
6 | 220kv VPH-SMG | 12:13 (21.11.2021) | 13:45 (22.11.2021) | Tripped | CHARGED
7 | 220kv L'sugur-RTPS-1 | 05:47 (21.11.2021) | 08:45 (22.11.2021) | Tripped | CHARGED
8 | 400KV/220KV HOODY-ICT - 2 | 10:41 (22.11.2021) | 16:36 (22.11.2021) | Tripped | CHARGED
9 | 400KV/220KV HASSAN-ICT - 1 | 10:49 (22.11.2021) | 14:35 (22.11.2021) | O/O on L/C | CHARGED
10 | 400KV-NELAMANGALA - TALGUPPA-1 | 14:51 (22.11.2021) | 16:38 (22.11.2021) | O/O on L/C | CHARGED
11 | 400KV/220KV NELAMANGALA-ICT - 3 | 08:11 (22.11.2021) | 14:28 (22.11.2021) | O/O on L/C | CHARGED
12 | 220kV Sindanoor-Lingasugur | 01:10 (22.11.2021) | 01:43 (22.11.2021) | O/O on L/C | CHARGED
13 | 220kV HSR-hoody | 06:40 (22.11.2021) | 12:38 (22.11.2021) | Tripped | CHARGED
14 | 220kV Mallat-RTPS#3 | 13:02 (22.11.2021) | 17:13 (22.11.2021) | Tripped | CHARGED
15 | 220kV B'Bagewadi-ADPH | 14:30 (22.11.2021) | 17:08 (22.11.2021) | O/O on L/C | CHARGED
16 |  |  |  | Tripped
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32