## M.I Gen & lines-22-12-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-12-22
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN LATER ON COALSHORTAGE(23.12.2021)
4 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN LATER ON ANNUAL OVER HAULING(23.12.2021)
5 | RTPS: U8 | 12:33 (20.11.2021) | 06:28 (22.11.2021) | O/O RESERVE SHUTDOWN
6 | RTPS: U4 | 11:22 (25.11.2021) |  | O/O RESERVE SHUTDOWN LATER ON ANNUAL OVER HAULING(23.12.2021)
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220kV Kadakola- K R pete | 18:10 (21.12.2021) | 13:05 (22.12.2021) | Tripped | CHARGED
4 | 400KV-NARENDRA -GUTTUR-2 | 22:05 (22.12.2021) |  | O/O on O/V
5 | 220KkV VPH-SMG#3 | 00:08 (22.12.2021) | 03:50 (22.12.2021) | Tripped | CHARGED
6 | 400Kv Guttr ICT-2 | 10:54 (22.12.2021) | 14:18 (22.12.2021) | O/O on L/C | CHARGED
7 | 220kV Bastipura-T'kere | 11:12 (22.12.2021) | 11:33 (22.12.2021) | Tripped | CHARGED
8 | 220kV Sirsi-Hubli#2 | 12:37 (22.12.2021) | 16:29 (22.12.2021) | Tripped | CHARGED
9 | 220kV VPH-SMG#1 | 15:16 (22.12.2021) | 18:53 (22.12.2021) | Tripped | CHARGED
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32