## M.I Gen & lines-23-08-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-08-23
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U2 | 20:29 (11.07.2021) | 15:32 (23.08.2021) | O/O RESERVED SHUTDOWN LATER ON TECHNICAL PROB
2 | UPCL: U2 | 15:08 (22.07.2021) |  | O/O SPS OPERATED LATER ON CONTINUED ON RSD
3 | RTPS: U1 | 07:15 (16.08.2021) |  | O/O BOILER TUBE LEAKAGE
4 | RTPS:U3 | 21:08 (21.08.2021) | 16:36 (23.08.2021) | O/O BOILER TUBE LEAKAGE
5 | UPCL: U1 | 11:29 (21.08.2021) |  | O/O LOW DEMAND
6 | RTPS: U7 | 02:24 (24.08.2021) |  | O/O BREAKER PROB
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | ICT #2 at RTPS | 18:42 (23.07.2021) | . | Tripped
3 | 400kV UPCL-Hassan#2 | 18:07 (22.08.2021) | 09:01 (23.08.2021) | O/O On O/V | CHARGED
4 | 220KV-HIRIYUR - TALLAK-1 | 08:40 (23.08.2021) | 20:02 (23.08.2021) | Tripped | CHARGED
5 | 220KV-KAIGA - KODASALLY-1 | 11:14 (23.08.2021) | 16:20 (23.08.2021) | O/O on LC | CHARGED
6 | 220KV-AMBEWADI - XELDEM-1 | 12:28 (23.08.2021) | 13:36 (23.08.2021) | Tripped | CHARGED
7 | 400KV-NARENDRA - GUTTUR-1 | 23:00 (23.08.2021) |  | O/O On O/V | KEPT ON OVER VOLTAGE
8 | 220kV Doni-Halvarthy | 10:47 (23.08.2021) | 01:29 (24.08.2021) | Tripped | CHARGED
9 | 220kV NRN-Ambewadi#1 | 11:29 (23.08.2021) | 14:56 (23.08.2021) | Tripped | CHARGED
10 | 220kV NPH-Bidnal | 11:29 (23.08.2021) | 12:11 (23.08.2021) | Tripped | CHARGED
11 | 220kV SGS-SMG#4 | 11:40 (23.08.2021) | 14:24 (23.08.2021) | Tripped | CHARGED
12 | 220kV NRN-Hubli#2 | 12:29 (23.08.2021) | 15:58 (23.08.2021) | Tripped | CHARGED
13 | 220kV Hoody-Malur | 13:25 (23.08.2021) | 17:16 (23.08.2021) | Tripped | CHARGED
14 | 220kV Madhugiri-Hiriyur | 15:08 (23.08.2021) | 15:58 (23.08.2021) | Tripped | CHARGED
15 | 220kV Mallat-RTPS | 19:45 (23.08.2021) | 19:54 (23.08.2021) | Tripped | CHARGED
18 | 220kV Shahpur-Lingasugur | 20:02 (23.08.2021) | 20:29 (23.08.2021) | Tripped | CHARGED
19
20
21
22
23
24
25
26
27
28