## M.I Gen & lines-23-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-23
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
| RTPS: U2 | 12:50 (18.10.2021) |  | O/O ASH VACUATION WORK
2 | RTPS: U8 | 04:10 (04.10.2021) |  | O/O ASH HANDLING PROB
3 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
4 | YTPS: U2 | 17:01 (16.10.2021) |  | O/O TURBINE PROTECTION OPERATED
5 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
6 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kV UPCL-HSn#1 | 05:11 (09.10.2021) |  | Tripped
4 | 400kV Narendra-Guttur #2 line | 17:19 (14.10.2021) |  | O/O on O/V
5 | 400kV HSN-Talguppa line | 09:02 (18.10.2021) |  | TRIPPED
6 | 220kV Kemar-Varahi#1 | 21:10 (22.10.2021) |  | Tripped
7 | 220kV Shimoga-KBCross | 00:37 (23.10.2021) | 12:47 (23.10.2021) | Tripped | CHARGED
8 | 220kV Bus1 @ Narendra | 01:38 (23.10.2021) | 02:30 (23.10.2021) | B ph PT flashover | CHARGED
9 | 220kV NLM-NRS | 04:49 (23.10.2021) | 08:08 (23.10.2021) | Tripped | CHARGED
10 | 220kV Shimoga-Arasikere | 05:22 (23.10.2021) | 06:05 (23.10.2021) | Tripped | CHARGED
11 | 220kV Dabaspet-Kadur | 05:27 (23.10.2021) | 06:20 (23.10.2021) | Tripped | CHARGED
12 | 220kV Hassan-Hassan(PGCIL) | 10:59 (23.10.2021) | 15:13 (23.10.2021) | O/o on LC | CHARGED
13 | 220kV Ambewadi-NPH Line 1 | 10:28 (23.10.2021) | 15:42 (23.10.2021) | O/o on LC | CHARGED
14 | 220kV RTPS-Raichur line 2 | 12:45 (23.10.2021) | 18:45 (23.10.2021) | Tripped | CHARGED
15 | 400kV Guttur-Kaiga 2 | 14:10 (23.10.2021) |  | Tripped
16 | 220kV C'maglur-Hassan | 17:41 (23.10.2021) | 18:08 (23.10.2021) | Tripped | CHARGED
17 | 220kV NPH-Hubli line 3 | 18:25 (23.10.2021) | 19:11 (23.10.2021) | Tripped | CHARGED
18 | 220kV Sirsi-Hubli line 1 | 17:49 (23.10.2021) |  | Tripped
19
20
21
22
23
24
25
26
27
28
29
30
31
32