## M.I Gen & lines-23-11-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-11-23
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | RTPS: U7 | 04:42 (12.11.2021) |  | O/O RESERVE SHUTDOWN
4 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
6 | YTPS:U1 | 13:03 (17.11.2021) | 06:30 (23.11.2021) | O/O LOSS OF EVACUATION
7 | RTPS:U1 | 02:39 (18.11.2021) |  | O/O BOILER TUBE LEAKAGE
8 | RTPS: U8 | 12:33 (20.11.2021) |  | O/O RESERVE SHUTDOWN
9 | YTPS:U1 | 08:35 (23.11.2021) | 12:36 (23.11.2021) | o/o TRIPPED
10 | RTPS: U6 | 12:14 (20.11.2021) |  | O/O RESERVE SHUTDOWN
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV-NELAMANGALA - TALGUPPA-1 | 11:20 (23.11.2021) | 15:56 (23.11.2021) | Tripped | CHARGED
4 | 220KV-AMBEWADI - XELDEM-1 | 16:52 (23.11.2021) | 17:57 (23.11.2021) | Tripped | CHARGED
5 | 400KV-KAIGA - GUTTUR-1 | 20:03 (23.11.2021) | 22:32 (23.11.2021) | Tripped | CHARGED
6 | 400KV-NELAMANGALA - HIRIYUR-2 | 02:02 (23.11.2021) | 09:21 (23.11.2021) | O/O on O/V | CHARGED
7 | 220kV NPH-Hubli#1 | 10:01 (23.11.2021) | 16:57 (23.11.2021) | O/O on L/C | CHARGED
8 | 220kV Davanagere-Guttur#2 | 12:07 (23.11.2021) | 14:30 (23.11.2021) | Tripped | CHARGED
9 | 220kV Varahi-SMG#2 | 13:03 (23.11.2021) | 18:25 (23.11.2021) | Tripped | CHARGED
10 | 220kV Ambewadi-NPH#2 | 13:08 (23.11.2021) | 13:52 (23.11.2021) | Tripped | CHARGED
11
12
13
14
15
16 |  |  |  | Tripped
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32