## M.I Gen & lines-23-12-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-12-23
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN LATER ON COALSHORTAGE(23.12.2021)
4 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN LATER ON ANNUAL OVER HAULING(23.12.2021)
5 | RTPS: U4 | 11:22 (25.11.2021) |  | O/O RESERVE SHUTDOWN LATER ON ANNUAL OVER HAULING(23.12.2021)
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV-NARENDRA -GUTTUR-2 | 22:05 (22.12.2021) | 11:18 (23.12.2021) | O/O on O/V | CHARGED
4 | 220KV-MUNIRABAD - LINGAPUR-2 | 11:18 (23.12.2021) | 15:44 (23.12.2021) |  | CHARGED
5 | 220kV Lingapura-Guddadahally # 2 line | 11:12 (23.12.2021) | 15:44 (23.12.2021) | O/O on LC | CHARGED
6 | 220kV Kaiga -Guttur line | 12:40 (23.12.2021) | 13:16 (23.12.2021) | Tripped | CHARGED
7 | 220kV narendra-ML Pura #2 line | 18:56 (23.12.2021) |  | Tripped
8 | 400kV BTPS- RTPS line | 03:45 (23.12.2021) | 14:16 (23.12.2021) | Tripped | CHARGED
9 | 220kV STRP-Talaguppa line | 09:13 (23.12.2021) | 09:38 (23.12.2021) | Tripped | CHARGED
10 | 220kV STRP-Shimogga line | 09:13 (23.12.2021) | 09:39 (23.12.2021) | Tripped | CHARGED
11 | 220kV Bidnal - Tadas #2 line | 10:42 (23.12.2021) |  | O/O on LC
12 | 220kV Kaiga -Kadra line | 12:40 (23.12.2021) | 13:16 (23.12.2021) | Tripped | CHARGED
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32