## M.I Gen & lines-24-06-2022
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2022-06-24
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL:U1 | 13:13 (07.05.2022) |  | O/O LOW STATE DEMAND
2 | UPCL:U2 | 08:32 (08.05.2022) |  | O/O LOW STATE DEMAND
3 | BTPS: U2 | 09:00 (16.06.2022) |  | O/O ANNUAL MAINTENEANCE
4 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O ASH HANLIN PROB
5 | RTPS: U8 | 10:26 (24.06.2022) |  | O/O ON RSD
6 | RTPS: U2 | 09:37 (24.06.2022) |  | O/O ON RSD
7 | RTPS: U5 | 11:59 (24.06.2022) |  | O/O ON RSD
8 | RTPS: U7 | 12:07 (24.06.2022) |  | O/O ON RSD
9
10
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | TRIPPED
2 | 400KV-NELAMANGALA - HASSAN-1 | 17:32 (07.05.2022) |  | TRIPPED | TEST CHARGED @ 17:05 (07.05.2022)BUT AGAIN TRIPPED @17:32(07.05.2022)
3 | 400KV-NELAMANGALA - TALGUPPA-1 | 17:15 (29.03.2022) |  | TRIPPED
4 | 220kV Hiriyur -Madhugiri line | 12:12 (24.06.2022) | 12:30 (24.06.2022) | TRIPPED
5 | 500MVA ICT#3 @ Nelamangala | 13:46 (24.06.2022) | 17:45 (24.06.2022) | O/O on LC
6 | 220kV chitradurga S/s | 13:38 (24.06.2022) | 14:26 (24.06.2022) | Tripped | busdead due to bus bar protection operated
7 | 400kV Guttur-Hiriyur #1 line | 10:38 (24.06.2022) | 15:25 (24.06.2022) | O/O on LC
8 | 400kV Guttur-Haveri #2 line | 10:42 (24.06.2022) | 11:29 (24.06.2022) | O/O on LC
9 | 220kV Hiriyur - Hiriyur PGCIL line | 12:02 (24.06.2022) | 17:01 (24.06.2022) | Tripped
10 | 400kV UPCL-Hassan #2 line | 22:19 (24.06.2022) |  | O/O on LC
11 | 400kV BPS-Pavagada line | 22:22 (24.06.2022) | 22:56 (24.06.2022) | Tripped
12
13
14
15
16
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32