## M.I Gen & lines-24-08-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-08-24
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U2 | 15:08 (22.07.2021) |  | O/O SPS OPERATED LATER ON CONTINUED ON RSD
2 | RTPS: U1 | 07:15 (16.08.2021) |  | O/O BOILER TUBE LEAKAGE
3 | UPCL: U1 | 11:29 (21.08.2021) |  | O/O LOW DEMAND
4 | RTPS: U7 | 02:24 (24.08.2021) | 08:29 (24.08.2021) | O/O BREAKER PROB
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | ICT #2 at RTPS | 18:42 (23.07.2021) | . | Tripped
3 | 400KV-NARENDRA - GUTTUR-1 | 23:00 (23.08.2021) | 07:25 (24.08.2021) | O/O On O/V | CHARGED
4 | 400KV/220KV KAIGA-ICT - 1 | 18:12 (24.08.2021) | 21:02 (24.08.2021) | Tripped | CHARGED
5 | 400KV-UPCL - HASSAN-1 | 00:09 (24.08.2021) |  | O/O On O/V
6 | 400KV-NELAMANGALA - TALGUPPA-1 | 03:06 (24.08.2021) | 07:46 (24.08.2021) | O/O On O/V | CHARGED
7 | 220kV Munirabad-Lingapur | 08:15 (24.08.2021) | 15:40 (24.08.2021) | O/O on L/C | CHARGED
8 | 220kV Ambewadi-NRN#1 | 11:42 (24.08.2021) | 14:05 (24.08.2021) | O/O on L/C | CHARGED
9 | 220kV Doni-Halwarthy | 10:45 (24.08.2021) | 16:52 (24.08.2021) | Tripped | CHARGED
10 | 220kV Gadag-Harti#1 | 09:52 (24.08.2021) | 11:15 (24.08.2021) | Tripped | CHARGED
11 | 220kV hubli-Sirsi#2 | 11:52 (24.08.2021) | 12:38 (24.08.2021) | Tripped | CHARGED
12 | 220kV Gadag-Bagalkote#2 | 15:22 (24.08.2021) | 19:33 (24.08.2021) | O/O on L/C | CHARGED
13 | 220kV GTR-Chitradurga | 20:05 (24.08.2021) | 20:32 (24.08.2021) | Tripped | CHARGED
14
15
18
19
20
21
22
23
24
25
26
27
28