## M.I Gen & lines-24-09-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-09-24
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U7 | 19:50 (27.08.2021) |  | O/O FLAME FAILURE
2 | RTPS: U1 | 20:33 (22.09.2021) |  | O/O BOILER TUBE LEAKAGE
3 | RTPS: U5 | 16:00 (24.09.2021) |  | O/O BOILER TUBE LEAKAGE
4 | YTPS:U2 | 14:52 (22.09.2021) | 20:58 (22.09.2021) | O/O INSPECTION OF CONTROL VALVE
5 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW
6 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
7 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220KV-NARENDRA - MAHALINGAPURA-2 | 12:55 (19.09.2021) |  | Tripped
4 | 400KV/220KV GUTTUR-ICT - 2 | 10:18 (22.09.2021) | 16:13 (24.09.2021) | O/O on L/C | CHARGED
5 | 220KV-HIRIYUR - HIRIYUR(PGCIL) | 14:28 (23.09.2021) | 16:42 (24.09.2021) | O/O on L/C | CHARGED
6 | 220KV-HIRIYUR - TALLAK-1 | 14:44 (23.09.2021) | 16:44 (24.09.2021) | O/O on L/C | CHARGED
7 | 220kV Shimoga-A'halli | 08:46 (24.09.2021) |  | O/O on L/C
8 | 220kV Shimoga-Kbcross | 08:47 (24.09.2021) |  | O/O on L/C
9 | 220kV SGS-Talaguppa | 09:34 (24.09.2021) | 13:32 (24.09.2021) | O/O on L/C | CHARGED
10 | 220kV Begur-Hoody | 10:19 (24.09.2021) | 12:10 (24.09.2021) | Tripped | CHARGED
11 | 220kV Hubli-Sirsi line 1 | 11:15 (24.09.2021) | 16:06 (24.09.2021) | O/O on L/C | CHARGED
12 | 220kV Hubli-Sirsi line 2 | 11:15 (24.09.2021) | 16:07 (24.09.2021) | O/O on L/C | CHARGED
13 | 220kV S'halli-Harohalli | 10:34 (24.09.2021) | 15:37 (24.09.2021) | O/O on L/C | CHARGED
14 | 220kV A'wadi-Xeldom | 14:51 (24.09.2021) | 15:42 (24.09.2021) | Tripped | CHARGED
15 | 400kV Guttur-Dhoni | 13:33 (24.09.2021) | 18:43 (24.09.2021) | Tripped | CHARGED
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51