## M.I Gen & lines-24-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-24
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
| RTPS: U2 | 12:50 (18.10.2021) |  | O/O ASH VACUATION WORK
2 | RTPS: U8 | 04:10 (04.10.2021) |  | O/O ASH HANDLING PROB
3 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
4 | YTPS: U2 | 17:01 (16.10.2021) |  | O/O TURBINE PROTECTION OPERATED
5 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
6 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kV UPCL-HSn#1 | 05:11 (09.10.2021) |  | Tripped
4 | 400kV Narendra-Guttur #2 line | 17:19 (14.10.2021) |  | O/O on O/V
5 | 400kV HSN-Talguppa line | 09:02 (18.10.2021) |  | TRIPPED
6 | 220kV Kemar-Varahi#1 | 21:10 (22.10.2021) | 14:10 (24.10.2021) | Tripped | CHARGED
7 | 400kV Guttur-Kaiga 2 | 14:10 (23.10.2021) |  | Tripped
8 | 220kV Sirsi-Hubli line 1 | 17:49 (23.10.2021) | 10:35 (24.10.2021) | Tripped | CHARGED
9 | 400KV-NELAMANGALA - HIRIYUR-2 | 01:50 (24.10.2021) | 11:23 (24.10.2021) | O/O On O/V | CHARGED
10 | 220kV Nagnathpura-S'hally | 00:44 (24.10.2021) | 06:47 (24.10.2021) | TRIPPED | CHARGED
11 | 400kV NLM-TGP | 07:58 (24.10.2021) | 15:47 (24.10.2021) | O/O ON L/C | CHARGED
12 | 220kV Manyatha-Puttenhally | 08:22 (24.10.2021) | 08:48 (24.10.2021) | TRIPPED | CHARGED
13 | 220kV Manyatha-Hebbal | 08:27 (24.10.2021) | 12:16 (24.10.2021) | TRIPPED | CHARGED
14 | 220kV Hootagally-Bastipura#2 | 09:34 (24.10.2021) | 14:47 (24.10.2021) | O/O ON L/C | CHARGED
15 | 220kV STRP-SMG | 16:13 (24.10.2021) | 16:51 (24.10.2021) | TRIPPED | CHARGED
16 | 220kV SGS-SMG#3 | 22:03 (24.10.2021) |  | TRIPPED
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32