## M.I Gen & lines-24-11-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-11-24
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | RTPS: U7 | 04:42 (12.11.2021) |  | O/O RESERVE SHUTDOWN
4 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
6 | RTPS:U1 | 02:39 (18.11.2021) |  | O/O BOILER TUBE LEAKAGE
7 | RTPS: U8 | 12:33 (20.11.2021) |  | O/O RESERVE SHUTDOWN
8 | RTPS: U6 | 12:14 (20.11.2021) |  | O/O RESERVE SHUTDOWN
9 | BTPS: U3 | 11:12 (24.11.2021) | 14:36 (24.11.2021) | O/O TRIPPED
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV-NELAMANGALA - HASSAN-1 | 15:13 (04.10.2021) |  | Tripped
4 | 400KV-BTPS - HIRIYUR-2 | 02:07 (24.10.2021) | 15:13 (24.10.2021) | O/O on O/V | CHARGED
5 | 220KV-YERRAANDAHALLI - HOSUR-1 | 09:12 (24.10.2021) | 14:02 (24.10.2021) | Tripped | CHARGED
6 | 400KV-BTPS - HIRIYUR-2 | 22:17 (24.10.2021) |  | O/O on O/V
7 | 220kV RTPS-Lingasugur#1 | 00:49 (24.10.2021) | 10:38 (24.10.2021) | Tripped | CHARGED
8 | 220kV RTPS-Shahpur#2 | 03:20 (24.10.2021) | 03:46 (24.10.2021) | Tripped | CHARGED
9 | 220kV RTPS-Mallat#3 | 05:20 (24.10.2021) | 07:01 (24.10.2021) | Tripped | CHARGED
10 | 220kV Bagalkote-ADPH#2 | 05:25 (24.10.2021) | 06:27 (24.10.2021) | Tripped | CHARGED
11 | 220kV Lingasugur-Shahpur | 05:58 (24.10.2021) | 06:12 (24.10.2021) | Tripped | CHARGED
12 | 220kV Hubli-NRN#1 | 10:42 (24.10.2021) | 14:58 (24.10.2021) | O/O on L/C | CHARGED
13 | 220kV Bagalkote-ADPH#1 | 11:16 (24.10.2021) | 20:02 (24.10.2021) | O/O on L/C | CHARGED
14 | 220kV NPH-Ambewadi#1 | 11:36 (24.10.2021) | 13:25 (24.10.2021) | O/O on L/C | CHARGED
15 | 220kV NPH-Kodasally#2 | 11:42 (24.10.2021) | 13:39 (24.10.2021) | O/O on L/C | CHARGED
16 | 220kV Varahi-Kemar#2 | 13:44 (24.10.2021) | 18:53 (24.10.2021) | Tripped | CHARGED
17 | 220kV SGS-TGP#2 | 15:54 (24.10.2021) | 16:18 (24.10.2021) | O/O on L/C | CHARGED
18 | 220kV NPH-Bidnal | 21:32 (24.10.2021) |  | Tripped
19
20
21
22
23
24
25
26
27
28
29
30
31
32