## M.I Gen & lines-24-12-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-12-24
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN LATER ON COALSHORTAGE(23.12.2021)
4 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN LATER ON ANNUAL OVER HAULING(23.12.2021)
5 | RTPS: U4 | 11:22 (25.11.2021) |  | O/O RESERVE SHUTDOWN LATER ON ANNUAL OVER HAULING(23.12.2021)
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220kV narendra-ML Pura #2 line | 18:56 (23.12.2021) |  | Tripped
4 | 220kV Bidnal - Tadas #2 line | 10:42 (23.12.2021) |  | O/O on LC
5 | 220kV Vasanth Narasapura-Antarasanahally#1 | 10:32 (24.12.2021) | 17:08 (24.12.2021) | TRIPPED | CHARGED
6 | 220kV Vasanth Narasapura-Antarasanahally#2 | 10:32 (24.12.2021) | 17:09 (24.12.2021) | TRIPPED | CHARGED
7 | 220kV Varahi-Kemar#1 | 10:59 (24.12.2021) | 13:12 (24.12.2021) | O/o on LC | CHARGED
8 | 220kV Gopalapura-HN Pura | 11:42 (24.12.2021) | 14:30 (24.12.2021) | O/o on LC | CHARGED
9 | 220kV Malur-Hoody | 12:16 (24.12.2021) | 13:33 (24.12.2021) | Tripped | CHARGED
10 | 220kV Varahi-SMG#1 | 18:18 (24.12.2021) |  | Tripped
11 | 400kV UPCL-HSN#2 | 23:59 (24.12.2021) | 07:03 (25.12.2021) | O/o on OV | CHARGED
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32