## M.I Gen & lines-25-06-2022
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2022-06-25
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL:U1 | 13:13 (07.05.2022) |  | O/O LOW STATE DEMAND
2 | UPCL:U2 | 08:32 (08.05.2022) |  | O/O LOW STATE DEMAND
3 | BTPS: U2 | 09:00 (16.06.2022) |  | O/O ANNUAL MAINTENEANCE
4 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O ASH HANLIN PROB later on RSD from 25.06.2022
5 | RTPS: U8 | 10:26 (24.06.2022) |  | O/O ON RSD
6 | RTPS: U2 | 09:37 (24.06.2022) |  | O/O ON RSD
7 | RTPS: U5 | 11:59 (24.06.2022) |  | O/O ON RSD
8 | RTPS: U7 | 12:07 (24.06.2022) |  | O/O ON RSD
9 | BTPS: U1 | 13:09 (25.06.2022) |  | O/O ON RSD
10 | RTPS: U3 | 10:30 (25.06.2022) |  | O/O ON RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | TRIPPED
2 | 400KV-NELAMANGALA - HASSAN-1 | 17:32 (07.05.2022) |  | TRIPPED | TEST CHARGED @ 17:05 (07.05.2022)BUT AGAIN TRIPPED @17:32(07.05.2022)
3 | 400KV-NELAMANGALA - TALGUPPA-1 | 17:15 (29.03.2022) |  | TRIPPED
4 | 400kV UPCL-Hassan #2 line | 22:19 (24.06.2022) | 20:36 (25.06.2022) | O/O on LC
5 | 220KV-MYSORE - KADAKOLA-1 &2 | 05:51 (25.06.2022) |  | O/O on LC
6 | 220KV-YELHANKA - YELAHANKA -2 | 14:07 (25.06.2022) | 17:31 (25.06.2022) | O/O on LC
7 | 220kV L'pura-JSW#2 | 08:15 (25.06.2022) | 18:45 (25.06.2022) | O/O on LC
8 | 220kV Kadkola-Hootagally | 11:28 (25.06.2022) | 12:45 (25.06.2022) | O/O on LC
9 | 220kV Ambewadi-Ponda#2 | 12:43 (25.06.2022) | 17:58 (25.06.2022) | Tripped
10
11
12
13
14
15
16
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32