## M.I Gen & lines-25-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-25
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
| RTPS: U2 | 12:50 (18.10.2021) |  | O/O ASH VACUATION WORK
2 | RTPS: U8 | 04:10 (04.10.2021) |  | O/O ASH HANDLING PROB
3 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
4 | YTPS: U2 | 17:01 (16.10.2021) |  | O/O TURBINE PROTECTION OPERATED
5 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
6 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kV UPCL-HSn#1 | 05:11 (09.10.2021) |  | Tripped
4 | 400kV Narendra-Guttur #2 line | 17:19 (14.10.2021) | 09:44 (25.10.2021) | O/O on O/V | CHARGED
5 | 400kV HSN-Talguppa line | 09:02 (18.10.2021) | 10:33 (25.10.2021) | TRIPPED | CHARGED
6 | 400kV Guttur-Kaiga 2 | 14:10 (23.10.2021) | 17:23 (25.10.2021) | Tripped | CHARGED
7 | 220kV SGS-SMG#3 | 22:03 (24.10.2021) | 12:51 (25.10.2021) | TRIPPED | CHARGED
8 | 400KV-MYSORE - NELAMANGALA-1 | 00:32 (25.10.2021) | 08:41 (25.10.2021) | O/O on L/C | CHARGED
9 | 400KV-KAIGA - GUTTUR-1 | 11:11 (25.10.2021) | 17:33 (25.10.2021) | O/O on L/C | CHARGED
10 | 220KV-AMBEWADI - PONDA-2 | 17:21 (25.10.2021) |  | Tripped
11 | 220KV-AMBEWADI - XELDEM-1 | 17:21 (25.10.2021) |  | Tripped
12 | 400KV/220KV HIRIYUR-ICT - 1 | 18:45 (25.10.2021) | 19:26 (25.10.2021) | O/O on L/C | CHARGED
13 | 400KV/220KV HIRIYUR-ICT - 2 | 19:36 (25.10.2021) | 20:05 (25.10.2021) | O/O on L/C | CHARGED
14 | 220kV Vajramatti-Bagalkote#1 | 10:50 (25.10.2021) | 12:40 (25.10.2021) | O/O on L/C | CHARGED
15 | 220kV Vajramatti-Bagalkote#2 | 13:22 (25.10.2021) | 19:12 (25.10.2021) | O/O on L/C | CHARGED
16 | 220kV VPH-Keamar#1 | 20:00 (25.10.2021) | 21:24 (25.10.2021) | O/O On L/C | CHARGED
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32