## M.I Gen & lines-25-11-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-11-25
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | RTPS: U7 | 04:42 (12.11.2021) |  | O/O RESERVE SHUTDOWN
4 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN
5 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN
6 | RTPS:U1 | 02:39 (18.11.2021) |  | O/O BOILER TUBE LEAKAGE
7 | RTPS: U8 | 12:33 (20.11.2021) |  | O/O RESERVE SHUTDOWN
8 | RTPS: U6 | 12:14 (20.11.2021) |  | O/O RESERVE SHUTDOWN
9 | RTPS: U4 | 11:22 (25.11.2021) |  | O/O RESERVE SHUTDOWN
10 | BTPS: U1 | 13:14 (25.11.2021) |  | O/O RESERVE SHUTDOWN
11 | YTPS: U1 | 11:03 (25.11.2021) | 12:29 (25.11.2021) | O/O MILL PROBLEM
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400KV-NELAMANGALA - HASSAN-1 | 15:13 (04.10.2021) |  | Tripped
4 | 220kV NPH-Bidnal | 21:32 (24.10.2021) | 12:16 (25.10.2021) | Tripped | CHARGED
5 | 400KV-BTPS - HIRIYUR-2 | 22:17 (24.10.2021) |  | O/O on O/V
6 | 400KV-NELAMANGALA - HIRIYUR-2 | 01:58 (24.10.2021) | 08:02 (24.10.2021) | O/O on O/V | CHARGED
7 | 400KV-DONI - MUNIRABAD-1 | 07:51 (24.10.2021) | 19:11 (24.10.2021) | Tripped | CHARGED
8 | 400KV-NELAMANGALA - TALGUPPA-1 | 23:13 (24.10.2021) |  | O/O on O/V
9 | 220kV RTPS-shahpur#1 | 03:24 (24.10.2021) | 03:45 (24.10.2021) | Tripped | CHARGED
10 | 220kV Ambewadi-NPH#2 | 09:02 (24.10.2021) | 14:16 (24.10.2021) | O/O on L/C | CHARGED
11 | 400kV Mysandra-S'hally | 10:58 (24.10.2021) | 18:25 (24.10.2021) | O/O on L/C | CHARGED
12 | 220kV Sedam-Tandur | 15:18 (24.10.2021) | 15:48 (24.10.2021) | Tripped | CHARGED
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32