## M.I Gen & lines-26-07-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-07-26
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 23:54 (10.07.2021) |  | O/O RESERVED SHUTDOWN
2 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
3 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BTL LATER ON RSD (12.07.2021)
4 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U4 | 15:39 (12.07.2021) |  | O/O BTL LATER ON RSD (17.07.2021)
6 | RTPS: U7 | 01:22 (13.07.2021) |  | O/O DUE TO VALVE PROBLEM LATER ON RSD (17.07.2021)
7 | RTPS: U8 | 05:16 (18.07.2021) |  | O/O RESERVED SHUTDOWN
8 | BTPS: U1 | 15:38 (19.07.2021) | 11:03 (26.07.2021) | O/O RESERVED SHUTDOWN
9 | RTPS: U1 | 10:30 (19.07.2021) |  | O/O RESERVED SHUTDOWN
10 | RTPS: U3 | 01:49 (17.07.2021) |  | O/O FLAME FAILURE LATER ON RSD (19.07.2021)
11 | YTPS: U2 | 13:53 (21.07.2021) |  | O/O RESERVED SHUTDOWN
12 | UPCL: U1 | 00:22 (24.07.2021) |  | O/O RESERVED SHUTDOWN
13 | BTPS:U1 | 20:41 (26.07.2021) | 22:51 (26.07.2021) | O/O TURBINE BEARING TEMP HIGH
14 | UPCL: U2 | 15:08 (22.07.2021) |  | O/O SPS OPERATED
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 400KV-KAIGA - NARENDRA-2 | 01:17 (21.07.2021) |  | O/O on O/V | KEPT OPEN ON OVER VOLTAGE
3 | ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
4 | 400kV Guttur-Narendra #2 | 23:19 (23.07.2021) |  | O/O on OV | KEPT OPEN ON OVER VOLTAGE
5 | 400KV-UPCL - HASSAN-1 | 22:59 (26.07.2021) |  | O/O on OV | KEPT OPEN ON OVER VOLTAGE
6 | 220kV Lingasugur-B'Bagewadi#1&#2 | 09:15 (26.07.2021) | 17:42 (26.07.2021) | O/o on LC | CHARGED
7 | 220kV Sedam-RTPS#1 | 11:05 (26.07.2021) | 16:20 (26.07.2021) | O/o on LC | CHARGED
8 | 220kV Kanbargi-BGM#2 | 11:08 (26.07.2021) | 15:22 (26.07.2021) | O/o on LC | CHARGED
9 | 220kV Bastipura-Hootagalli#1 | 12:56 (26.07.2021) | 15:14 (26.07.2021) | O/o on LC | CHARGED
10 | 220kV GadagStation | 14:06 (26.07.2021) | 14:35 (26.07.2021) | Bus dead | CHARGED
11 | 220kV ADPH Station | 16:25 (26.07.2021) | 17:30 (26.07.2021) | Bus dead | CHARGED
12 | 220kV Vajramatti station | 14:19 (26.07.2021) | 11:23 (26.07.2021) | Bus dead | CHARGED
13 | 220kV B'beagewadi station | 14:25 (26.07.2021) | 15:15 (26.07.2021) | Bus dead | CHARGED
14 | 220kV Varahi-SMG#1 | 21:37 (26.07.2021) |  | Tripped
15 | 220kV Lingasugur-RTPS | 23:14 (26.07.2021) | 23:26 (26.07.2021) | Tripped | CHARGED
18
19
20
21
22
23
24
25
26
27
28
29