## M.I Gen & lines-26-08-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-08-26
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U2 | 15:08 (22.07.2021) | 18:49 (26.07.2021) | O/O SPS OPERATED LATER ON CONTINUED ON RSD
2 | RTPS: U1 | 07:15 (16.08.2021) |  | O/O BOILER TUBE LEAKAGE
3 | YTPS: U1 | 09:46 (25.08.2021) |  | O/O BOILER TUBE LEAKAGE
4 | RTPS: U2 | 06:10 (27.08.2021) |  | O/O FEED PUMP PROBLEM
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220kV Sindanoor-Lingasugur | 09:05 (26.08.2021) | 15:07 (26.08.2021) | O/O on L/C | CHARGED
4 | 220kV Guttur-Haveri#2 | 09:23 (26.08.2021) | 11:02 (26.08.2021) | O/O on L/C | CHARGED
5 | 220kV NRN-Hubli#2 | 10:20 (26.08.2021) | 14:40 (26.08.2021) | O/O on L/C | CHARGED
6 | 400kV TGP-Shantigrama | 11:12 (26.08.2021) | 17:15 (26.08.2021) | O/O on L/C | CHARGED
7 | 220kV SMN-Mylasandra | 15:14 (26.08.2021) | 19:04 (26.08.2021) | Tripped | CHARGED
8
9
10
11
12
13
14
15
18
19
20
21
22
23
24
25
26
27
28