## M.I Gen & lines-26-12-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-12-26
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
2 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
3 | BTPS:U2 | 11:43 (09.11.2021) |  | O/O RESERVE SHUTDOWN LATER ON COALSHORTAGE(23.12.2021)
4 | RTPS: U3 | 21:11 (13.11.2021) |  | O/O RESERVE SHUTDOWN LATER ON ANNUAL OVER HAULING(23.12.2021)
5 | RTPS: U4 | 11:22 (25.11.2021) |  | O/O RESERVE SHUTDOWN LATER ON ANNUAL OVER HAULING(23.12.2021)
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:07 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 220kV Bidnal - Tadas #2 line | 10:42 (23.12.2021) | 16:10 (26.12.2021) | O/O on LC | CHARGED
4 | 220kV Kodasally stn | 08:56 (26.12.2021) | 09:40 (26.12.2021) | Bus dead | CHARGED
5 | 220kV Sedam-Tandur | 11:33 (26.12.2021) | 17:20 (26.12.2021) | O/O on LC | CHARGED
6 | 220kV NLM-Peenya | 18:13 (26.12.2021) | 18:42 (26.12.2021) | Tripped | CHARGED
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32