## M.I Gen & lines-27-06-2022
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2022-06-27
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL:U1 | 13:13 (07.05.2022) |  | O/O LOW STATE DEMAND
2 | UPCL:U2 | 08:32 (08.05.2022) |  | O/O LOW STATE DEMAND
3 | BTPS: U2 | 09:00 (16.06.2022) |  | O/O ANNUAL MAINTENEANCE later on RSD from 26.06.2022
4 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O ASH HANLIN PROB later on RSD from 25.06.2022
5 | RTPS: U8 | 10:26 (24.06.2022) |  | O/O ON RSD
6 | RTPS: U2 | 09:37 (24.06.2022) |  | O/O ON RSD
7 | RTPS: U5 | 11:59 (24.06.2022) |  | O/O ON RSD
8 | RTPS: U7 | 12:07 (24.06.2022) |  | O/O ON RSD
9 | BTPS: U1 | 13:09 (25.06.2022) | 07:40 (28.06.2022) | O/O ON RSD
10 | RTPS: U3 | 10:30 (25.06.2022) |  | O/O ON RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | TRIPPED
2 | 400KV-NELAMANGALA - HASSAN-1 | 17:32 (07.05.2022) |  | TRIPPED | TEST CHARGED @ 17:05 (07.05.2022)BUT AGAIN TRIPPED @17:32(07.05.2022)
3 | 400KV-NELAMANGALA - TALGUPPA-1 | 17:15 (29.03.2022) |  | TRIPPED
4 | 220KV-MYSORE - TUBINAKERE-1 | 07:01 (26.06.2022) |  | O/O on LC
5 | 220KV-MYSORE - GOPALPURA-1 | 07:05 (26.06.2022) |  | O/O on LC
6 | 400KV-NARENDRA - GUTTUR-2 | 22:59 (27.06.2022) | 07:16 (28.06.2022) | O/O on O/V
7 | 400KV-HOODY - DEVANAHALLI-2 | 11:48 (27.06.2022) | 18:41 (27.06.2022) | O/O on LC
8 | 220kV Bidnal-Haveri | 01:41 (27.06.2022) | 14:34 (27.06.2022) | Tripped
9 | 220kV Tubinkere-Kotipura | 10:48 (27.06.2022) | 14:56 (27.06.2022) | O/O on LC
10 | 220kV Vrahi-Kemar#1&2 | 18:50 (27.06.2022) | 19:07 (27.06.2022) 19:09 (27.06.2022) | Tripped
11 | 220kV Linggasugur-Shahpur | 20:48 (27.06.2022) | 20:58 (27.06.2022) | Tripped
12
13
14
15
16
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32