## M.I Gen & lines-27-10-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-10-27
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U3 | 18:38 (02.10.2021) |  | O/O ON COAL SHORTAGE
2 | RTPS: U2 | 12:50 (18.10.2021) |  | O/O ASH EVACUATION WORK,LATER ON COAL SHORTAGE
3 | BTPS: U3 | 22:17 (24.09.2021) |  | O/O DUE TO BOILER AIR FLOW LOW, LATER ON COAL SHORTAGE
4 | YTPS: U2 | 17:01 (16.10.2021) |  | O/O TURBINE PROTECTION OPERATED
5 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
6 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O COAL SHORTAGE & LATER TO RSD FROM 00HRS OF 19.10.2021
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kV UPCL-HSn#1 | 05:11 (09.10.2021) |  | Tripped
4 | 220KV-AMBEWADI - PONDA-2 | 17:21 (25.10.2021) |  | Tripped
5 | 400KV/220KV MUNIRABAD-ICT - 1 | 17:11 (27.10.2021) | 01:04 (28.10.2021) | O/O on L/C | CHARGED
6 | 220kV STRP-SMG#1 | 02:34 (27.10.2021) | 14:45 (27.10.2021) | Tripped | CHARGED
7 | 400kV BPS-JSW#2 | 10:28 (27.10.2021) | 17:06 (27.10.2021) | O/O on L/C | CHARGED
8 | 315MVA ICT-2 @ TGP | 11:28 (27.10.2021) | 13:51 (27.10.2021) | O/O on L/C | CHARGED
9 | 400kV NLM-Hiriyur#1 | 12:34 (27.10.2021) | 19:13 (27.10.2021) | O/O on L/C | CHARGED
10 | 220kV Hubli-NPH#2 | 12:52 (27.10.2021) | 18:45 (27.10.2021) | Tripped | CHARGED
11 | 220kV Hubli-NPH#1 | 15:07 (27.10.2021) | 18:45 (27.10.2021) | O/O on L/C | CHARGED
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32