## M.I Gen & lines-28-06-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-06-28
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | YTPS: U2 | 02:08 (05.12.2020) |  | O/O G T FAULT
2 | RTPS: U2 | 20:41 (11.05.2021) |  | O/O RESERVED SHUTDOWN
3 | RTPS: U3 | 23:15 (12.05.2021) |  | O/O RESERVED SHUTDOWN
4 | RTPS: U7 | 22:41 (12.05.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U4 | 12:17 (15.05.2021) |  | O/O RESERVED SHUTDOWN
6 | RTPS: U5 | 11:02 (15.05.2021) |  | O/O RESERVED SHUTDOWN
7 | RTPS: U6 | 10:17 (06.06.2021) |  | O/O RESERVED SHUTDOWN
8 | RTPS: U8 | 10:17 (06.06.2021) |  | O/O RESERVED SHUTDOWN
9 | BTPS: U2 | 18:54 (07.06.2021) |  | O/O RESERVED SHUTDOWN
10 | RTPS: U1 | 11:04 (08.06.2021) |  | O/O RESERVED SHUTDOWN
11 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD LATER ON FAULT FROM 28.06.2021
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | Tripped | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 400kV Guttur-NRN#2 | 03:03 (17.06.2021) |  | O/O on O/V | KEPT OPEN FOR OVER VOLTAGE
3 | 400KV-NELAMANGALA - HASSAN | 14:10 (17.06.2021) | 16:52 (28.06.2021) | Tripped | CHARGED
4 | 400kV NLMG-TLGP | 16:09 (25.06.2021) | 11:46 (28.06.2021) | O/O on L/C | FOR POWER RESTORATION OF NLM-HASSAN LINE
5 | 400KV-NELAMANGALA - HASSAN | 18:36 (28.06.2021) |  | Tripped | R-N FAULT
6 | 220kV RTPS-Lingasugur#1 | 03:42 (28.06.2021) | 04:17 (28.06.2021) | Tripped | CHARGED
7 | 220kV RTPS-Lingasugur#2 | 04:52 (28.06.2021) | 05:44 (28.06.2021) | Tripped | CHARGED
8 | 220kV Hubli-NPH | 10:42 (28.06.2021) | 16:03 (28.06.2021) | O/O on L/C | CHARGED
9 | 220kV STRP-TGP | 13:34 (28.06.2021) | 14:11 (28.06.2021) | Tripped | CHARGED
10 | 220kV Hubli-Sirsi#2 | 13:45 (28.06.2021) | 14:31 (28.06.2021) | Tripped | CHARGED
11 | 220kV Kanbargi-BGM#2 | 16:22 (28.06.2021) | 17:07 (28.06.2021) | O/O on L/C | CHARGED
12 | 220kV Lingasugur-Shahpur | 23:24 (28.06.2021) | 23:46 (28.06.2021) | Tripped | CHARGED
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29