## M.I Gen & lines-28-06-2022
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
INTERRUPTION DETAILS WITH REASONS ON |  |  | 2022-06-28
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | UPCL:U1 | 13:13 (07.05.2022) |  | O/O LOW STATE DEMAND
2 | UPCL:U2 | 08:32 (08.05.2022) |  | O/O LOW STATE DEMAND
3 | BTPS: U2 | 09:00 (16.06.2022) | 19:21 (28.06.2022) | O/O ANNUAL MAINTENEANCE later on RSD from 26.06.2022
4 | RTPS: U1 | 20:00 (20.06.2022) |  | O/O ASH HANLIN PROB later on RSD from 25.06.2022
5 | RTPS: U8 | 10:26 (24.06.2022) |  | O/O ON RSD
6 | RTPS: U2 | 09:37 (24.06.2022) |  | O/O ON RSD
7 | RTPS: U5 | 11:59 (24.06.2022) | 07:48 (29.06.2022) | O/O ON RSD
8 | RTPS: U7 | 12:07 (24.06.2022) |  | O/O ON RSD
9 | RTPS: U3 | 10:30 (25.06.2022) |  | O/O ON RSD
10
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 315 MVA ICT #2 at RTPS | 18:42 (23.07.2021) |  | TRIPPED
2 | 400KV-NELAMANGALA - HASSAN-1 | 17:32 (07.05.2022) |  | TRIPPED | TEST CHARGED @ 17:05 (07.05.2022)BUT AGAIN TRIPPED @17:32(07.05.2022)
3 | 400KV-NELAMANGALA - TALGUPPA-1 | 17:15 (29.03.2022) |  | TRIPPED
4 | 220KV-MYSORE - TUBINAKERE-1 | 07:01 (26.06.2022) |  | O/O on LC
5 | 220KV-MYSORE - GOPALPURA-1 | 07:05 (26.06.2022) |  | O/O on LC
6 | 220kV Kudgi-Vajramatti#2 | 11:58 (28.06.2022) | 16:46 (28.06.2022) | O/O on LC
7 | 220kV Kudgi-G M Navar#6 | 13:22 (28.06.2022) | 15:35 (28.06.2022) | Tripped
8 | 220kV RTPS-Lingasur#1 | 01:05 (28.06.2022) | 01:16 (28.06.2022) | Tripped
9 | 400kV Hiriyur-NLM#1 | 11:30 (28.06.2022) | 18:24 (28.06.2022) | O/o on LC
10 | 220kV SGS- TLP#1 | 10:35 (28.06.2022) | 14:07 (28.06.2022) | O/o on LC
11 | 220kV SGS -TLP#3 | 15:13 (28.06.2022) | 18:01 (28.06.2022) | O/o on LC
12 | 220kV RTPS-Mallat | 23:28 (28.06.2022) | 23:38 (28.06.2022) | Tripped
13
14
15
16
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32