## M.I Gen & lines-28-08-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-08-28
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | RTPS: U1 | 07:15 (16.08.2021) |  | O/O BOILER TUBE LEAKAGE
2 | YTPS: U1 | 09:46 (25.08.2021) |  | O/O BOILER TUBE LEAKAGE
3 | RTPS: U2 | 19:11 (28.08.2021) |  | O/O BUNKER FEEDING PROBLEM
4 | RTPS: U3 | 12:38 (27.08.2021) |  | O/O FLAME FAILURE
5 | RTPS: U7 | 19:50 (27.08.2021) |  | O/O FLAME FAILURE
6 | UPCL: U1 | 22:31 (27.08.2021) |  | O/O FUEL SHORTAGE
7 | UPCL: U2 | 21:49 (27.08.2021) |  | O/O FUEL SHORTAGE
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
3 | 400kv Nel-Hassan | 15:28 (27.07.2021) | 16:53 (28.07.2021) | Tripped | CHARGED
4 | 220kv Shahpura-Lingasugur | 23:00 (27.07.2021) |  | Tripped
5 | 400kV Neleamngala-Talaguppa #1 line | 12:43 (28.07.2021) | 16:53 (28.07.2021) | O/O on LC | CHARGED
6 | 400kV Hoody -ICT2 | 10:52 (28.07.2021) | 13:38 (28.07.2021) | O/O on LC | CHARGED
7 | 400kV UPCL-Hassan #2 line | 00:26 (28.07.2021) |  | O/O on OV | KEPT ON OVER VOLTAGE
8 | 400kV Narendra-Guttur #2 line | 23:23 (28.07.2021) |  | O/O on OV | KEPT ON OVER VOLTAGE
9 | 220kV Kadakola-Begur line | 06:05 (28.07.2021) |  | O/O on LC
10 | 220kV STRP-TGP line | 14:57 (28.07.2021) | 16:25 (28.07.2021) | O/O on LC | CHARGED
11 | 220kV Vajmangal-Hootagally line | 17:07 (28.07.2021) | 17:49 (28.07.2021) | Tripped | CHARGED
12 | 220kV STRP-Shimoga line | 02:32 (28.07.2021) | 07:44 (28.07.2021) | Tripped | CHARGED
13 | 220kV C R Nagar-Begur #1&2 line | 09:35 (28.07.2021) |  | O/O on LC
14 | 220kV VPH-SMG line | 10:36 (28.07.2021) | 12:48 (28.07.2021) | O/O on LC | CHARGED
15 | 220kV Lingasur-Sindhanoor line | 21:32 (28.07.2021) | 22:10 (28.07.2021) | Tripped | CHARGED
18 | 400kV Pavagada- BPS #1 line | 21:32 (28.07.2021) |  | O/O on LC
19 | 220kV Guttur-Neelgund line | 21:50 (28.07.2021) |  | Tripped
20
21
22
23
24
25
26
27
28