## M.I Gen & lines-29-07-2021
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED (WHOLLY OWNED BY GOVERNMENT OF KARNATAKA UNDERTAKING)
(B) INTERRUPTION DETAILS WITH REASONS ON |  |  | 2021-07-29
STATE GENERATOR OUTAGES
Sl.NO | GENERATION STATION/UNIT | OUTAGES |  | REMARKS
|  | FROM | TO
1 | BTPS: U3 | 23:54 (10.07.2021) |  | O/O RESERVED SHUTDOWN
2 | YTPS: U1 | 23:11 (08.06.2021) |  | O/O RSD TEMP PROBE PROB
3 | RTPS:U5 | 20:52 (06.07.2021) |  | O/O BTL LATER ON RSD (12.07.2021)
4 | RTPS: U2 | 20:29 (11.07.2021) |  | O/O RESERVED SHUTDOWN
5 | RTPS: U4 | 15:39 (12.07.2021) |  | O/O BTL LATER ON RSD (17.07.2021)
6 | RTPS: U7 | 01:22 (13.07.2021) |  | O/O DUE TO VALVE PROBLEM LATER ON RSD (17.07.2021)
7 | RTPS: U8 | 05:16 (18.07.2021) |  | O/O RESERVED SHUTDOWN
8 | RTPS: U1 | 10:30 (19.07.2021) |  | O/O RESERVED SHUTDOWN
9 | RTPS: U3 | 01:49 (17.07.2021) |  | O/O FLAME FAILURE LATER ON RSD (19.07.2021)
10 | YTPS: U2 | 13:53 (21.07.2021) |  | O/O RESERVED SHUTDOWN
11 | UPCL: U1 | 00:22 (24.07.2021) |  | O/O RESERVED SHUTDOWN
12 | UPCL: U2 | 15:08 (22.07.2021) |  | O/O SPS OPERATED LATER ON RSD
Sl.NO | NAME OF THE LINE | OUTAGES |  | REMARKS | PRESENT STATUS
|  | FROM | TO
1 | 220kV Kudugi-G M Navar#4 | 21:06 (28.08.2020) |  | TRIPPED | WORK UNDER PROGRESS(RELAY REPLACEMENT)
2 | 400KV-KAIGA - NARENDRA-2 | 01:17 (21.07.2021) |  | O/O on O/V | KEPT OPEN ON OVER VOLTAGE
3 | ICT #2 at RTPS | 18:42 (23.07.2021) |  | Tripped
4 | 400kV Guttur-Narendra #2 | 23:19 (23.07.2021) | 09:12 (29.07.2021) | O/O on OV | CHARGED
5 | 220kV VPH-SMG#1 | 18:48 (28.07.2021) | 10:20 (29.07.2021) | Tripped | CHARGED
6 | 220kV GTR-DVG#1 | 20:02 (28.07.2021) | 13:15 (29.07.2021) | Tripped | CHARGED
7 | 400KV-BTPS- HIRIYUR-2 | 00:55 (29.07.2021) | 07:24 (29.07.2021) | O/O on OV | CHARGED
8 | 220kV SMG-SGS#3 | 09:50 (29.07.2021) | 14:09 (29.07.2021) | O/o on LC | CHARGED
9 | 220kV RTPS-Mallat | 13:46 (29.07.2021) |  | Tripped | CT FLASH OVER
10 | 220kV RTPS-Lingasugur | 13:47 (29.07.2021) | 14:03 (29.07.2021) | Tripped | CHARGED
11 | 220kV Gadag-Bagalkote#1 | 13:51 (29.07.2021) | 14:05 (29.07.2021) | Tripped | CHARGED
12 | 220kV G B Noor-Hiriur#2 | 14:15 (29.07.2021) |  | Tripped
13 | 400kV GTR-Kaiaga#2 | 15:29 (29.07.2021) |  | Tripped
14 | 220kV V'matti-Kudagi#1 | 16:30 (29.07.2021) | 20:05 (29.07.2021) | Tripped | CHARGED
15 | 220kV RTPS-Sedam#1 | 16:36 (29.07.2021) | 18:30 (29.07.2021) | O/O on L/C | CHARGED
18 | 220kV RTPS-Linagasugur | 21:37 (29.07.2021) | 21:55 (29.07.2021) | Tripped | CHARGED
19
20
21
22
23
24
25
26
27
28